## Scorecard Methodology
MERLIN ENERGY SUPPLIER SCORECARD - BUYER-CENTRIC METHODOLOGY
SECTION 1: EVALUATION PERSPECTIVE
Buyer | Merlin Energy (purchasing equipment for commercial energy projects)
Suppliers | BESS, Solar, EV Charger, Generator manufacturers
End Customers | Commercial/Industrial clients (car washes, hotels, data centers, EV hubs)
Primary Goal | Maximize ROI and minimize risk for Merlin Energy projects
Scoring Scale | Each category scored 1-100 (100 = best for Merlin Energy)
Total Weight | 16 categories × varying weights = 100%
SECTION 2: MERLIN ENERGY-CENTRIC WEIGHTED CATEGORIES (16 Categories, 100%)
TIER 1: CRITICAL FOR ROI (45% Total Weight)
# | Category | Weight | Why It Matters to Merlin Energy | Key Criteria
1 | Pricing | 15% | Directly impacts project ROI for your clients | $/kWh or $/W, volume discounts, TCO
2 | Quality | 12% | Reliability = uptime = client savings | ISO certs, PVEL scores, defect rates
3 | Warranty | 10% | Long-term risk protection on 10-20 yr assets | Duration, coverage scope, claim success
4 | IRA/Domestic Content | 8% | 10-30% bonus credits drive project viability | US facilities, domestic %, IRA eligibility
TIER 2: PROJECT SUCCESS (35% Total Weight)
# | Category | Weight | Why It Matters to Merlin Energy | Key Criteria
5 | Delivery/Lead Time | 8% | Project delays = delayed savings for clients | Lead time, on-time delivery %, capacity
6 | Technical Support | 8% | Complex BESS/solar needs responsive support | Support team, response SLA, training
7 | Financial Health | 7% | Supplier must survive warranty period | Revenue, margins, credit rating
8 | Safety Certifications | 7% | Permitting, insurance, code compliance | UL 9540, IEC 62619, NFPA 855
9 | Supply Chain Risk | 5% | Tariff/availability impacts pricing & schedule | Country risk, UFLPA, tariff exposure
TIER 3: SUPPORTING FACTORS (20% Total Weight)
# | Category | Weight | Why It Matters to Merlin Energy | Key Criteria
10 | Product Portfolio & Technology | 5% | Solution fit for diverse project types | Product range, technology diversity
11 | Innovation & Speed to Market | 4% | Access to newer, better products | R&D spend, new product launches
12 | Customer References | 4% | Proven track record reduces risk | Installed base, testimonials
13 | Scalability & Capacity | 3% | Can grow with Merlin Energy volume | Production capacity, expansion plans
14 | ESG/Sustainability | 2% | Nice for marketing, not procurement driver | EcoVadis, carbon footprint
15 | Global Position | 1% | Less relevant than direct service quality | Market share, brand recognition
16 | Cybersecurity | 1% | Important for utility-scale, less for C&I | NERC-CIP, ISO 27001
SECTION 3: FORCE RANKING (Relative Position Within Category)
Rank Position | Color | Classification | Recommendation
Top 1/3 | GREEN | Preferred Supplier | Prioritize for strategic projects
Middle 1/3 | YELLOW | Qualified Supplier | Good for diversification
Bottom 1/3 | RED | Caution | Use only if necessary, monitor closely
SECTION 4: WEIGHT DISTRIBUTION SUMMARY
TIER 1 - Critical for ROI | 45% | Pricing, Quality, Warranty, IRA/Domestic
TIER 2 - Project Success | 35% | Delivery, Support, Financial, Safety, Supply Chain
TIER 3 - Supporting | 20% | Portfolio, Innovation, References, Scalability, ESG, Global, Cyber
TOTAL | 100% | 16 Categories
SECTION 5: IMPORTANT NOTES
1. ESTIMATES: Scores are estimates based on public information; validate before procurement.
2. BUYER PERSPECTIVE: Weights reflect Merlin Energy priorities, not industry standards.
3. RELATIVE RANKING: Colors show position within each product category, not absolute scores.
4. CUSTOMIZABLE: Weights can be adjusted for specific project requirements.
5. DYNAMIC: Supplier performance changes; re-evaluate periodically.

## BESS Cells
Company | Website | HQ Region | HQ State/Province | Cell Chemistry | Cell Format | Ah Ratings | US Mfg | US State(s) | US Facility Cities | Key System Integrator Customers | Pricing (15%) | Tariff Risk | Tariff Rate | Global Position (1%) | Financial Health (7%) | Product Portfolio & Technology (5%) | Innovation & Speed to Market (4%) | Quality (12%) | Technical Support (8%) | Warranty (10%) | ESG/Sustainability (2%) | Supply Chain Risk (5%) | Delivery/Lead Time (8%) | Cybersecurity (1%) | Safety Certifications (7%) | IRA/Domestic Content (8%) | Customer References (4%) | Scalability & Capacity (3%) | Weighted Average
LG Energy Solution | https://www.lgensol.com | South Korea | Seoul | LFP, NMC | Prismatic, Pouch | LFP prismatic; NMC pouch | Yes | Michigan, Tennessee | Holland MI (only US LFP ESS), Spring Hill TN | Fluence, various | $70-100/kWh (US) | Low | 0-25% | 90 | 90 | 90 | 90 | 90 | 80 | 90 | 50 | 70 | 60 | 60 | 70 | 90 | 50 | 50 | 79
Samsung SDI | https://www.samsungsdi.com | South Korea | Gyeonggi Province | LFP, NMC | Prismatic | LFP prismatic for ESS | Yes | Indiana | Kokomo IN (converting to LFP) | Various integrators | $75-100/kWh (US) | Low-Medium | 25% | 90 | 90 | 90 | 90 | 90 | 80 | 90 | 50 | 70 | 60 | 60 | 70 | 90 | 50 | 50 | 79
Panasonic | https://na.panasonic.com/us/energy-solutions | Japan | Osaka | NMC, NCA | Cylindrical | 2170, 4680 cells | Yes | Nevada, Kansas | Sparks NV (Tesla JV), De Soto KS | Tesla (primary) | $80-100/kWh | Low | 0-25% | 80 | 90 | 80 | 90 | 90 | 90 | 90 | 50 | 70 | 60 | 60 | 70 | 90 | 50 | 50 | 79
AESC (Envision) | https://www.aesc-group.com | Japan/China | Kanagawa | LFP, NMC | Prismatic, Pouch | Various for ESS | Yes | Tennessee | Smyrna TN (Nissan JV) | Fluence, Nissan | $70-90/kWh | Low-Medium | 25% | 70 | 70 | 80 | 80 | 80 | 70 | 80 | 50 | 70 | 60 | 60 | 70 | 90 | 50 | 50 | 72
BYD | https://www.byd.com/en/ess | China | Guangdong Province | LFP (Blade) | Prismatic (Blade) | 138Ah, 150Ah (Blade) | No | N/A | None | BYD Systems, various | $45-55/kWh | HIGH | 64.9-82%+ | 90 | 90 | 90 | 90 | 90 | 80 | 80 | 50 | 50 | 60 | 60 | 70 | 30 | 50 | 50 | 71
CATL | https://www.catl.com | China | Fujian Province | LFP, Sodium-ion | Prismatic | 280Ah, 306Ah, 314Ah, 560Ah | No | N/A | None | Tesla, Fluence, Wärtsilä | $40-50/kWh | HIGH | 64.9-82%+ | 100 | 80 | 100 | 100 | 90 | 70 | 80 | 50 | 50 | 60 | 60 | 70 | 30 | 50 | 50 | 70
SK On | https://www.skon.com | South Korea | Seoul | LFP, NMC | Prismatic, Pouch | 280Ah, 300Ah LFP | Planned | Georgia, Kentucky | Commerce GA, KY (planned) | Various (ramping) | $70-100/kWh | Low-Medium | 25% | 70 | 80 | 80 | 80 | 80 | 70 | 80 | 50 | 70 | 60 | 60 | 70 | 60 | 50 | 50 | 70
Ford BlueOval | https://www.ford.com/blueoval-battery | US | Michigan | LFP | Prismatic | LFP prismatic (CATL tech) | Yes | Kentucky, Michigan | Glendale KY (20 GWh), Marshall MI | Ford internal, future external | $65-85/kWh (target) | Low | 0% | 60 | 80 | 60 | 70 | 70 | 70 | 80 | 50 | 70 | 60 | 60 | 70 | 90 | 50 | 50 | 70
ESS Inc. | https://essinc.com | US | Oregon | Iron Flow | Flow Battery | Iron flow electrolyte | Yes | Oregon | Wilsonville OR | Utilities, C&I | $150-200/kWh | Low | 0% | 50 | 50 | 60 | 90 | 70 | 60 | 70 | 50 | 70 | 60 | 60 | 70 | 90 | 50 | 50 | 66
Form Energy | https://formenergy.com | US | Massachusetts | Iron-Air | Proprietary | Iron-air multi-day cells | Planned | West Virginia | Weirton WV (construction) | Utilities (long-duration) | $20-30/kWh LCOS | Low | 0% | 50 | 60 | 60 | 100 | 70 | 60 | 70 | 50 | 70 | 60 | 60 | 70 | 60 | 50 | 50 | 65
EVE Energy | https://www.evebattery.com | China | Guangdong Province | LFP | Prismatic | 280Ah (LF280K), 304Ah, 560Ah | No | N/A | None | Fluence, various | $40-50/kWh | HIGH | 64.9%+ | 80 | 70 | 80 | 80 | 80 | 70 | 70 | 50 | 50 | 60 | 60 | 70 | 30 | 50 | 50 | 64
Natron Energy | https://natron.energy | US | California | Sodium-ion | Prismatic | Prussian Blue sodium-ion | Planned | North Carolina | NC (24 GWh gigafactory) | Data center operators | $100-150/kWh | Low | 0% | 50 | 60 | 60 | 90 | 70 | 60 | 70 | 50 | 70 | 60 | 60 | 70 | 60 | 50 | 50 | 64
Envision Energy | https://www.envision-group.com | China | Shanghai | LFP | Prismatic | 280Ah, 314Ah | No | N/A | None | Envision systems | $45-55/kWh | HIGH | 64.9%+ | 70 | 70 | 80 | 80 | 70 | 70 | 70 | 50 | 50 | 60 | 60 | 70 | 30 | 50 | 50 | 63
Trina Storage | https://www.trinasolar.com/en-glb/product/energy-storage | China | Jiangsu Province | LFP | Prismatic | 280Ah, 314Ah | No | N/A | None | Trina systems | $42-50/kWh | HIGH | 64.9%+ | 70 | 70 | 80 | 70 | 70 | 70 | 70 | 50 | 50 | 60 | 60 | 70 | 30 | 50 | 50 | 62
Gotion High-Tech | https://www.gotion.com.cn | China | Anhui Province | LFP, Sodium-ion | Prismatic | 230Ah, 280Ah; Na-ion | Limited | Michigan | Big Rapids MI (planned 2025) | Various integrators | $45-55/kWh | Medium | 25-64.9% | 70 | 60 | 80 | 80 | 70 | 60 | 70 | 50 | 50 | 60 | 60 | 70 | 30 | 50 | 50 | 61
Hithium | https://www.hithium.com | China | Fujian Province | LFP | Prismatic | 314Ah, 560Ah | No | N/A | None | Various integrators | $38-45/kWh | HIGH | 64.9%+ | 70 | 60 | 70 | 80 | 70 | 60 | 70 | 50 | 50 | 60 | 60 | 70 | 30 | 50 | 50 | 61
CALB | https://www.calb-tech.com | China | Jiangsu Province | LFP | Prismatic | 280Ah, 314Ah | No | N/A | None | Various integrators | $40-48/kWh | HIGH | 64.9%+ | 70 | 60 | 70 | 70 | 70 | 60 | 70 | 50 | 50 | 60 | 60 | 70 | 30 | 50 | 50 | 60
REPT Battero | https://www.rfrept.com | China | Zhejiang Province | LFP | Prismatic | 280Ah, 320Ah (Wending) | No | N/A | None | Various integrators | $38-45/kWh | HIGH | 64.9%+ | 60 | 60 | 70 | 70 | 70 | 60 | 70 | 50 | 50 | 60 | 60 | 70 | 30 | 50 | 50 | 60
Lishen | https://www.lishen.com.cn | China | Tianjin | LFP, NMC | Prismatic, Cylindrical | 280Ah prismatic; 21700 | No | N/A | None | Various integrators | $42-52/kWh | HIGH | 64.9%+ | 60 | 60 | 70 | 70 | 70 | 60 | 70 | 50 | 50 | 60 | 60 | 70 | 30 | 50 | 50 | 60
Pylontech | https://www.pylontech.com.cn | China | Shanghai | LFP | Prismatic | 50Ah, 100Ah modules | No | N/A | None | Pylontech systems, residential | $80-120/kWh | HIGH | 64.9%+ | 60 | 60 | 70 | 60 | 70 | 60 | 70 | 50 | 50 | 60 | 60 | 70 | 30 | 50 | 50 | 60

## BESS Systems
Company | Website | HQ Region | HQ State/Province | System Type | US Mfg | US State(s) | US Facility Cities | Products (Name & Capacity) | Cell Supplier(s) | Capacity Range | Installed $/kWh | Tariff Risk | Tariff Rate | WoodMac 2025 Rank | Global Position (1%) | Financial Health (7%) | Product Portfolio & Technology (5%) | Innovation & Speed to Market (4%) | Quality (12%) | Technical Support (8%) | Warranty (10%) | Pricing (15%) | ESG/Sustainability (2%) | Supply Chain Risk (5%) | Delivery/Lead Time (8%) | Cybersecurity (1%) | Safety Certifications (7%) | IRA/Domestic Content (8%) | Customer References (4%) | Scalability & Capacity (3%) | Weighted Average
Tesla Energy | https://www.tesla.com/megapack | US | California | Utility, C&I, Residential | Yes | Nevada, California | Sparks NV, Lathrop CA (40 GWh/yr) | Megapack 2XL (3.9 MWh); Megapack 2 (3.0 MWh); Powerwall 3 (13.5 kWh) | CATL, Panasonic, LG | 13.5 kWh - 3.9 MWh | Utility $180-250; Res $850/kWh | Medium | ~25% | #1 (15%) | 100 | 100 | 100 | 100 | 90 | 90 | 90 | 70 | 80 | 70 | 60 | 80 | 70 | 90 | 50 | 50 | 81
Fluence | https://fluenceenergy.com | US | Virginia | Utility, C&I | Yes | Utah, Arizona, Texas, Tennessee | Salt Lake City UT, Goodyear AZ, Houston TX | Gridstack Pro (4+ MWh); Gridstack (2.5 MWh); Edgestack (372 kWh) | CATL, EVE, AESC, LG | 372 kWh - 500+ MW | $117-150/kWh | Low | 0-10% | Top 5 | 90 | 80 | 90 | 90 | 90 | 90 | 90 | 80 | 50 | 70 | 60 | 80 | 70 | 90 | 50 | 50 | 79
LG Energy Solution | https://www.lgensol.com/en/ess | South Korea | Seoul | Utility, C&I, Residential | Yes | Michigan, Tennessee | Holland MI, Spring Hill TN | RESU Prime (16 kWh); RESU Plus (9.6 kWh); Utility (2-4 MWh) | LG (integrated) | 9.3 kWh - 4 MWh | Res $800-1,100; Util $130-180 | Low | 0-25% | Top 10 | 90 | 90 | 90 | 90 | 90 | 80 | 90 | 60 | 50 | 70 | 60 | 60 | 70 | 90 | 50 | 50 | 76
Samsung SDI | https://www.samsungsdi.com/ess | South Korea | Gyeonggi Province | Utility, C&I | Yes | Indiana | Kokomo IN | SBB 2.0 (2.9 MWh); SBB 1.0 (1.5 MWh); E3-R3 rack (88 kWh) | Samsung (integrated) | 88 kWh - 2.9 MWh | $120-160/kWh | Low-Medium | 25% | Top 10 | 90 | 90 | 90 | 90 | 90 | 80 | 90 | 60 | 50 | 70 | 60 | 60 | 70 | 90 | 50 | 50 | 76
Panasonic | https://na.panasonic.com/us/energy-solutions/evervolt-home-battery | Japan | Osaka | Residential | Yes | Nevada, Kansas | Sparks NV, De Soto KS | EverVolt Home (17.1 kWh); EverVolt Plus (34.2 kWh) | Panasonic (integrated) | 17.1 kWh - 68.4 kWh | $850-1,100/kWh | Low | 0-25% | Res Top 10 | 80 | 90 | 80 | 80 | 90 | 90 | 90 | 60 | 50 | 70 | 60 | 60 | 70 | 90 | 50 | 50 | 76
Enphase Energy | https://enphase.com/homeowners/home-energy-storage | US | California | Residential | Yes | California, Texas, Wisconsin | Fremont CA, Arlington TX, Kenosha WI | IQ Battery 5P (5 kWh); IQ Battery 10T (10.5 kWh) | Various | 3.5 kWh - 42 kWh | $1,100-1,300/kWh | Low | 0% | Res Leader | 80 | 80 | 80 | 90 | 90 | 90 | 90 | 50 | 80 | 70 | 60 | 60 | 70 | 90 | 50 | 50 | 75
GE Vernova | https://www.gevernova.com/grid-solutions/battery-energy-storage | US | Massachusetts | Utility | Yes | New York, South Carolina, Texas, Florida | Schenectady NY, Greenville SC, Houston TX | Reservoir (2.5-4 MWh); FlexReservoir; FLEXINVERTER (4.5 MW) | Various | 2.5 MWh - 500+ MW | Enterprise pricing | Low | 0% | Top 10 | 80 | 90 | 80 | 80 | 80 | 90 | 90 | 60 | 50 | 70 | 60 | 60 | 70 | 90 | 50 | 50 | 75
FlexGen | https://www.flexgen.com | US | Texas | Utility, C&I | Yes | Texas | Durham TX | HybridOS Platform; Flex-E (2-4 MWh) | CATL, LG, Samsung | 1 MW - 500+ MW | Competitive w/ Fluence | Low | 0% | Top 10 NA | 70 | 70 | 80 | 80 | 80 | 80 | 80 | 80 | 50 | 70 | 60 | 60 | 70 | 90 | 50 | 50 | 74
Generac | https://www.generac.com/homeowner/pwrcell | US | Wisconsin | Residential | Yes | Wisconsin | Waukesha WI | PWRcell M6 (18 kWh); PWRcell M4 (12 kWh) | Various | 9 kWh - 18 kWh | $900-1,100/kWh | Low | 0% | Res Top 5 | 70 | 80 | 70 | 70 | 80 | 80 | 80 | 70 | 80 | 70 | 60 | 60 | 70 | 90 | 50 | 50 | 73
BYD | https://www.byd.com/en/ess | China | Guangdong Province | Utility, C&I, Residential | No | N/A | None | MC Cube-T (2.8 MWh); BatteryBox HVS (5.1-12.8 kWh); BatteryBox LVS (4-24 kWh) | BYD (integrated) | 4 kWh - 2.8 MWh | Util $90-120; Res $600-900 | HIGH | 64.9-82%+ | Top 5 | 90 | 90 | 90 | 90 | 80 | 80 | 80 | 90 | 50 | 50 | 60 | 60 | 70 | 30 | 50 | 50 | 72
Sungrow | https://en.sungrowpower.com | China | Anhui Province | Utility, C&I, Residential | No | N/A | None (CA JV planned) | PowerTitan 3.0 (5 MWh); PowerTitan 2.0 (2.75 MWh); PowerStack (200 kWh) | CATL, EVE, in-house | 200 kWh - 6.9 MWh | $120-160/kWh installed | HIGH | 64.9%+ | #2 (14%) | 90 | 80 | 90 | 90 | 80 | 80 | 80 | 90 | 50 | 50 | 60 | 60 | 70 | 30 | 50 | 50 | 72
Lion Energy | https://lionenergy.com | US | Utah | Residential, C&I | Yes | Utah, Arizona | American Fork UT HQ; Tucson AZ (ABF partnership) - 24 GWh/yr target by 2026 | Lion Sanctuary 3 (14.3 kWh); Lion POWERsave Cabinet/Container (C&I); Safari portable | American Battery Factory (LFP cells) | 665 Wh - 100+ kWh | Res $700-1,200/kWh; C&I competitive | Low | 0% | Emerging US | 60 | 60 | 70 | 80 | 80 | 70 | 80 | 80 | 50 | 70 | 60 | 60 | 70 | 90 | 50 | 50 | 72
Ford BlueOval | https://www.ford.com/blueoval-battery | US | Michigan | Utility, Residential | Yes | Kentucky, Michigan | Glendale KY, Marshall MI | BlueOval Commercial (~5 MWh); BlueOval Home (10+ kWh planned) | Ford (internal LFP) | 10 kWh - 5 MWh | TBD - 2025 launch | Low | 0% | New | 60 | 80 | 60 | 70 | 70 | 70 | 80 | 80 | 50 | 70 | 60 | 60 | 70 | 90 | 50 | 50 | 72
Sonnen | https://sonnenusa.com | Germany | Bavaria | Residential | Yes | Georgia | Marietta GA (assembly) | ecoLinx (10-20 kWh); sonnenCore+ (10 kWh) | Various | 10 kWh - 30 kWh | $900-1,200/kWh | Low | 0% | Res Top 5 | 70 | 70 | 70 | 80 | 80 | 80 | 80 | 60 | 50 | 70 | 60 | 60 | 70 | 90 | 50 | 50 | 71
Powin | https://powin.com | US | Oregon | Utility | Yes | Oregon, Arizona | Portland OR; Arizona facility | Centipede; Stack OS software | Various (LFP) | 1 MWh - 1 GWh+ | $150-220/kWh | Low | 0% | Top 5 NA | 70 | 50 | 70 | 80 | 80 | 80 | 80 | 60 | 50 | 70 | 60 | 60 | 70 | 90 | 50 | 50 | 69
CRRC Zhuzhou | https://www.crrcgc.cc | China | Hunan Province | Utility | No | N/A | None | CRRC-ESS Container (2.5-5 MWh) | CATL, CALB | 2.5 MWh - 100+ MWh | $70-90/kWh equip | HIGH | 64.9%+ | #3 (8%) | 80 | 70 | 80 | 70 | 70 | 70 | 70 | 100 | 50 | 50 | 60 | 60 | 70 | 30 | 50 | 50 | 68
Form Energy | https://formenergy.com | US | Massachusetts | Utility | Planned | West Virginia | Weirton WV (construction) | Iron-Air Battery (multi-MW, 100-hr) | Form (proprietary iron-air) | Multi-MW, 100-hr | $20-30/kWh LCOS target | Low | 0% | Alt Chem | 50 | 60 | 60 | 100 | 70 | 60 | 70 | 90 | 50 | 70 | 60 | 60 | 70 | 60 | 50 | 50 | 68
Canadian Solar (e-Storage) | https://www.canadiansolar.com/battery-storage | Canada | Ontario | Utility, C&I, Residential | Limited | Kentucky | KY (cell plant planned) | SolBank 2.0 (5 MWh); SolBank (2.8 MWh); EP Cube (9.9 kWh) | CATL, in-house planned | 9.9 kWh - 5 MWh | Util $100-140; Res $700-950 | Low-Medium | 0-25% | Top 15 | 70 | 70 | 80 | 70 | 80 | 70 | 80 | 80 | 50 | 50 | 60 | 60 | 70 | 30 | 50 | 50 | 67
Trina Storage | https://www.trinasolar.com/en-glb/product/energy-storage | China | Jiangsu Province | Utility, C&I, Residential | No | N/A | None | Elementa 2 (5+ MWh); Elementa (3.4 MWh); Trinahome (10 kWh) | Trina, CATL | 10 kWh - 100+ MWh | $75-100/kWh equip | HIGH | 64.9%+ | Top 15 | 70 | 70 | 80 | 70 | 70 | 70 | 70 | 90 | 50 | 50 | 60 | 60 | 70 | 30 | 50 | 50 | 67
Wärtsilä | https://www.wartsila.com/energy/solutions/energy-storage | Finland | Helsinki | Utility | Limited | N/A | Limited US assembly | GridSolv Quantum (4.3 MWh); GridSolv Max (2.8 MWh) | CATL, Samsung, various | 2.8 MWh - 500+ MW | $140-200/kWh | Medium | ~25% | Top 10 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 60 | 50 | 50 | 60 | 80 | 70 | 30 | 50 | 50 | 66
Envision Energy | https://www.envision-group.com | China | Shanghai | Utility, C&I | No | N/A | None | EnOS Smart ESS (2-5 MWh); EnPower C&I | Envision (integrated) | 100 kWh - 500+ MW | $80-110/kWh | HIGH | 64.9%+ | Top 15 | 70 | 70 | 80 | 80 | 70 | 70 | 70 | 80 | 50 | 50 | 60 | 60 | 70 | 30 | 50 | 50 | 66
SimpliPhi | https://simpliphipower.com | US | California | Residential, C&I | Yes | California | Ojai CA | PHI 3.8 (3.8 kWh); ExprESS; AccESS | Various LFP | 3.8 kWh - 200+ kWh | $800-1,000/kWh | Low | 0% | Niche | 50 | 60 | 60 | 70 | 70 | 70 | 70 | 60 | 50 | 70 | 60 | 60 | 70 | 90 | 50 | 50 | 66
Eos Energy | https://www.eose.com | US | New Jersey | Utility, C&I | Yes | Pennsylvania | Turtle Creek PA (Znyth factory) | Eos Z3 (1.5 MWh); Znyth zinc battery | Eos (proprietary zinc) | 1.5 MWh - multi-MWh | $150-200/kWh | Low | 0% | Alt Chem | 50 | 50 | 60 | 90 | 70 | 60 | 70 | 60 | 50 | 70 | 60 | 60 | 70 | 90 | 50 | 50 | 65
Hyperstrong | https://www.hyperstrong.com.cn | China | Jiangsu Province | Utility, C&I | No | N/A | None | HyperBlock (5 MWh); HyperCube (3.44 MWh); C&I Cabinet (215 kWh) | CATL, EVE, Hithium | 215 kWh - 100+ MWh | $75-100/kWh equip | HIGH | 64.9%+ | Top 15 | 70 | 60 | 80 | 70 | 70 | 60 | 70 | 90 | 50 | 50 | 60 | 60 | 70 | 30 | 50 | 50 | 65
Sigenergy | https://www.sigenergy.com | China | Shanghai | Residential, C&I | No | N/A | Nantong smart mfg hub | SigenStor (5-48 kWh); SigenStack (12 kWh modules) | In-house LFP | 5 kWh - 252+ kWh | $500-900/kWh | HIGH | 64.9%+ | Emerging | 60 | 60 | 70 | 80 | 80 | 70 | 70 | 80 | 50 | 50 | 60 | 60 | 70 | 30 | 50 | 50 | 65
Gotion High-Tech | https://gotion.com | China | Hefei | Utility, C&I | Planned | Illinois | Manteno IL factory planned 2026 | LFP utility systems; JT-series ESS | In-house | 100 kWh - 100+ MWh | $90-140/kWh | HIGH | 64.9%+ | Top 10 | 70 | 60 | 70 | 80 | 70 | 60 | 70 | 60 | 50 | 70 | 60 | 60 | 70 | 60 | 50 | 50 | 64
Hithium | https://hithium.com | China | Xiamen | Utility, C&I | No | - | Major LFP cell maker; ESS systems | 5 MWh container; 314Ah cells | In-house | 1 MWh - 100 MWh | $38-55/kWh cells | HIGH | 64.9%+ | Top 10 Cells | 70 | 70 | 70 | 80 | 80 | 60 | 70 | 70 | 50 | 50 | 60 | 60 | 70 | 30 | 50 | 50 | 64
Narada Power | https://www.naradapower.com | China | Zhejiang Province | Utility, C&I | No | N/A | None | Narada ESS containers (2-5 MWh) | Narada (integrated) | 100 kWh - 100+ MWh | $70-100/kWh | HIGH | 64.9%+ | Top 15 | 60 | 60 | 70 | 70 | 70 | 60 | 70 | 90 | 50 | 50 | 60 | 60 | 70 | 30 | 50 | 50 | 64
Pylontech | https://www.pylontech.com.cn | China | Shanghai | Residential, C&I | No | N/A | None | Force H2 (7.1 kWh); US5000 (4.8 kWh); Powercube M1 (100 kWh) | Pylontech (integrated) | 3.6 kWh - 100 kWh | Res $400-600; C&I $300-450 | HIGH | 64.9%+ | Res Top 10 | 60 | 60 | 70 | 60 | 70 | 60 | 70 | 90 | 50 | 50 | 60 | 60 | 70 | 30 | 50 | 50 | 64
Fortress Power | https://www.fortresspower.com | US | Pennsylvania | Residential, C&I | Limited | Pennsylvania | Phoenixville PA (assembly) | eVault Max (18.5 kWh); eFlex 5.4 (5.4 kWh) | Various LFP | 5.4 kWh - 74 kWh | $600-900/kWh | Low-Medium | Varies | Niche | 50 | 60 | 60 | 60 | 70 | 70 | 70 | 80 | 50 | 50 | 60 | 60 | 70 | 30 | 50 | 50 | 63
ESS Inc. | https://essinc.com | US | Oregon | Utility, C&I | Yes | Oregon | Wilsonville OR | Energy Warehouse (500 kWh); Energy Center (12 MWh) | ESS (iron flow) | 500 kWh - 12 MWh | $300-400/kWh | Low | 0% | Alt Chem | 50 | 50 | 60 | 90 | 70 | 60 | 70 | 40 | 50 | 70 | 60 | 60 | 70 | 90 | 50 | 50 | 62
AlphaESS | https://www.alphaess.com | China | Jiangsu Province | Residential, C&I | No | N/A | None | SMILE5 (5.7 kWh); STORION T30 (30 kWh) | In-house LFP | 5 kWh - 100+ kWh | $600-1,000/kWh | HIGH | 64.9%+ | Emerging | 50 | 50 | 60 | 70 | 70 | 60 | 70 | 80 | 50 | 50 | 60 | 60 | 70 | 30 | 50 | 50 | 62
Tecloman | https://tecloman.com | China | Shenzhen | Utility, C&I | No | - | Emerging Chinese integrator | LFP containers; modular ESS | Various | 1 MWh - 50 MWh | $85-125/kWh | HIGH | 64.9%+ | Emerging | 50 | 50 | 60 | 70 | 70 | 60 | 60 | 70 | 50 | 50 | 60 | 60 | 70 | 30 | 50 | 50 | 59

## Solar Inverters
Company | Website | HQ Region | HQ State/Province | WoodMac H1 2025 Rank | WoodMac Score | Grade A Status | US Mfg | US State(s) | US Facility Cities | Product Portfolio & Technology (5%) | Power Range | Pricing (15%) | Tariff Risk | Tariff Rate | Global Position (1%) | Financial Health (7%) | Innovation & Speed to Market (4%) | Quality (12%) | Technical Support (8%) | Warranty (10%) | ESG/Sustainability (2%) | Supply Chain Risk (5%) | Delivery/Lead Time (8%) | Cybersecurity (1%) | Safety Certifications (7%) | IRA/Domestic Content (8%) | Customer References (4%) | Scalability & Capacity (3%) | Weighted Average
Schneider Electric | https://www.se.com/solar | France | Île-de-France | Industrial C&I | N/A | N/A | Yes | Kentucky, Texas, Nebraska, Illinois | Lexington KY, El Paso TX, Lincoln NE, Mt Prospect IL | Conext XW+, CL series | 3 kW - 60 kW | $0.18-0.28/W | Low | 0% | 70 | 90 | 70 | 90 | 90 | 90 | 80 | 100 | 60 | 80 | 70 | 90 | 50 | 50 | 81
Siemens | https://www.siemens.com/solar | Germany | Bavaria | Industrial | N/A | N/A | Yes | Wisconsin, Georgia, Texas | Milwaukee WI, Alpharetta GA, Grand Prairie TX | Sinacon, SIESTORAGE | 50 kW - 2.5 MW | Enterprise pricing | Low | 0% | 70 | 90 | 80 | 90 | 90 | 90 | 80 | 70 | 60 | 80 | 70 | 90 | 50 | 50 | 79
Enphase Energy | https://enphase.com | US | California | #10 | 83+ | Yes | Yes | California, Texas, Wisconsin | Fremont CA, Arlington TX (contract), Kenosha WI | IQ7/IQ8 microinverters, IQ Battery | 300W-500W/micro | $0.40-0.60/W installed | Low | 0% | 80 | 80 | 100 | 90 | 90 | 90 | 80 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 79
ABB/FIMER | https://www.fimer.com | Switzerland | Zurich | Utility Scale | N/A | N/A | Yes | Texas, Tennessee, Virginia | Houston TX, Memphis TN, Richmond VA | PVS-175/800, Terra series | 50 kW - 4.4 MW | $0.12-0.22/W | Low | 0% | 70 | 80 | 80 | 90 | 80 | 90 | 80 | 70 | 60 | 80 | 70 | 90 | 50 | 50 | 78
GE Vernova | https://www.gevernova.com | US | Massachusetts | Utility Leader | N/A | Yes | Yes | New York, South Carolina, Texas, Florida | Schenectady NY, Greenville SC, Houston TX, Pensacola FL | 2,000V utility inverters, FlexInverter | 500 kW - 4.4 MW | Enterprise pricing | Low | 0% | 80 | 90 | 80 | 90 | 90 | 90 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 78
SolarEdge | https://www.solaredge.com | Israel | Herzliya | #7 (tied) | 86+ | Yes | Yes | Texas, Florida | Austin TX (250K inv), Seminole FL, Tampa FL | Home Hub, SE series, optimizers | 3 kW - 330 kW | $0.25-0.40/W | Low | 0% | 80 | 70 | 90 | 90 | 80 | 90 | 80 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 77
Sungrow | https://en.sungrowpower.com | China | Anhui Province | #2 | 93.7 | Yes | Planned | California | CA JV planned | SG series residential/utility | 2 kW - 8.8 MW | $0.10-0.18/W global | HIGH | 25-78% | 100 | 90 | 100 | 90 | 80 | 90 | 50 | 70 | 60 | 50 | 70 | 60 | 50 | 50 | 76
TMEIC | https://www.tmeic.com | Japan | Tokyo | #7 (tied) | 86+ | Yes | Yes | Virginia, Texas | Roanoke VA, Houston TX | Utility-scale inverters | 500 kW - 4.4 MW | $0.12-0.20/W | Low | 0-25% | 70 | 80 | 80 | 90 | 80 | 90 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 76
Delta Electronics | https://www.deltaww.com | Taiwan | Taipei | Commercial | N/A | N/A | Yes | Michigan, Indiana, Texas | Livonia MI, Indianapolis IN, Plano TX | M-series string inverters | 2.5 kW - 100 kW | $0.12-0.18/W | Low | 0% | 60 | 80 | 80 | 80 | 80 | 80 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 74
Huawei FusionSolar | https://solar.huawei.com | China | Guangdong Province | #1 | 93.9 | Yes | No | N/A | None (banned US) | SUN2000 series, Luna ESS | 2 kW - 6 MW+ | $0.08-0.15/W global | CRITICAL | Banned | 100 | 90 | 100 | 90 | 80 | 90 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 71
SMA Solar | https://www.sma.de | Germany | Hesse | #3 | 90+ | Yes | Limited | Colorado | Denver CO (service) | Sunny Boy/Tripower, Sunny Central | 2 kW - 4.6 MW | $0.15-0.25/W | Medium | ~25% | 80 | 80 | 90 | 90 | 90 | 90 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 71
Fronius | https://www.fronius.com | Austria | Upper Austria | #4 | 89+ | Yes | Limited | Indiana | Portage IN (service) | GEN24, Primo/Symo | 3 kW - 27 kW | $0.20-0.30/W | Medium | ~25% | 70 | 80 | 90 | 90 | 90 | 90 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 71
EPC Power | https://epcpower.com | US | California | Emerging | N/A | N/A | Yes | California, South Carolina | San Diego CA, SC manufacturing | M System 500kW modular | 500 kW blocks | Custom pricing | Low | 0% | 50 | 60 | 80 | 80 | 70 | 80 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 71
Power Electronics | https://www.power-electronics.com | Spain | Valencia | Growing | N/A | N/A | Planned | Texas | Houston TX (Fall 2025) | HEM 1,500V, FREEMAQ | 185 kW - 4.8 MW | $0.12-0.20/W | Low | 0% after TX | 60 | 70 | 80 | 80 | 70 | 80 | 50 | 70 | 60 | 50 | 70 | 60 | 50 | 50 | 69
Ginlong/Solis | https://www.ginlong.com | China | Zhejiang Province | #5 | 88+ | Yes | No | N/A | None | Solis string inverters | 0.7 kW - 350 kW | $0.10-0.15/W | HIGH | 25-78% | 70 | 70 | 80 | 80 | 70 | 80 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 64
GoodWe | https://www.goodwe.com | China | Jiangsu Province | #6 | 87+ | Yes | No | N/A | None | GW series residential/commercial | 0.7 kW - 250 kW | $0.10-0.15/W | HIGH | 25-78% | 70 | 70 | 80 | 80 | 70 | 80 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 64
Aiswei/Solplanet | https://www.solplanet.com | China | Jiangsu Province | #9 | 84+ | Yes | No | N/A | None | ASW series string inverters | 1.5 kW - 110 kW | $0.09-0.14/W | HIGH | 25-78% | 60 | 60 | 80 | 70 | 70 | 70 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 61
Growatt | https://www.growatt.com | China | Guangdong Province | Top 15 | 80+ | Yes | No | N/A | None | MIN/MOD/MAX series | 1 kW - 253 kW | $0.08-0.12/W | HIGH | 25-78% | 60 | 60 | 70 | 70 | 60 | 70 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 59
TBEA | https://www.tbea.com | China | Xinjiang | Top 15 | 78+ | Yes | No | N/A | None | Utility string inverters | 100 kW - 3.5 MW | $0.08-0.14/W | HIGH | 25-78% | 60 | 60 | 70 | 70 | 60 | 70 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 59
Deye | https://www.deyeinverter.com | China | Zhejiang Province | Top 15 | 77+ | Yes | No | N/A | None | Hybrid inverters, string inverters | 3 kW - 50 kW | $0.08-0.12/W | HIGH | 25-78% | 50 | 60 | 70 | 70 | 60 | 70 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 59
SOFAR | https://www.sofarsolar.com | China | Guangdong Province | Top 20 | 75+ | Yes | No | N/A | None | SOFAR string/hybrid inverters | 1 kW - 255 kW | $0.08-0.14/W | HIGH | 25-78% | 50 | 60 | 70 | 70 | 60 | 70 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 59

## Solar Panels - PV Modules
Company | Website | HQ Region | HQ State/Province | WoodMac H1 2025 Rank | 2024 Shipments (GW) | Grade A Status | US Mfg | US State(s) | US Facility Cities | Product Portfolio & Technology (5%) | Technology | Pricing (15%) | Tariff Risk | Tariff Rate | Global Position (1%) | Financial Health (7%) | Innovation & Speed to Market (4%) | Quality (12%) | Technical Support (8%) | Warranty (10%) | ESG/Sustainability (2%) | Supply Chain Risk (5%) | Delivery/Lead Time (8%) | Cybersecurity (1%) | Safety Certifications (7%) | IRA/Domestic Content (8%) | Customer References (4%) | Scalability & Capacity (3%) | Weighted Average
First Solar | https://www.firstsolar.com | US | Arizona | US Leader | ~12 | Yes | Yes | Ohio, Alabama, Louisiana | Perrysburg OH (x3), Trinity AL, New Iberia LA = 14 GW | Series 6/7 CdTe thin-film | CdTe Thin-Film | $0.28-0.35/W premium | NONE | 0% | 90 | 90 | 100 | 90 | 90 | 90 | 80 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 80
Qcells (Hanwha) | https://www.qcells.com | South Korea | Seoul | Top 15 | ~15 | Yes | Yes | Georgia | Dalton GA, Cartersville GA = 8.4 GW | Q.PEAK DUO, Q.TRON, bifacial | TOPCon | $0.25-0.35/W US | Low | 0% | 80 | 90 | 90 | 90 | 90 | 90 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 79
JinkoSolar | https://www.jinkosolar.com | China | Shanghai | Top 3 | 90+ | Yes | Yes | Florida | Jacksonville FL (assembly) | Tiger Neo TOPCon, Tiger Pro, bifacial | TOPCon (87%) | $0.10-0.15/W; $0.30-0.50/W US | Medium | 25-54% | 100 | 80 | 100 | 90 | 80 | 90 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 78
Canadian Solar | https://www.canadiansolar.com | Canada | Ontario | Top 10 | 31.1 | Yes | Yes | Texas | Mesquite TX (5 GW) | BiHiKu7, HiKu7, TOPCon bifacial | TOPCon | $0.12-0.18/W US | Low | 0% | 80 | 80 | 80 | 80 | 80 | 80 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 74
Silfab Solar | https://silfabsolar.com | Canada | Ontario | Regional | ~2 | N/A | Yes | Washington, South Carolina | Burlington WA (1.1 GW), Fort Mill SC (2.3 GW) | SIL-380/400 mono PERC | PERC | $0.30-0.40/W Made in USA | Low | 0% | 50 | 60 | 60 | 80 | 80 | 80 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 71
JA Solar | https://www.jasolar.com | China | Beijing | #1 (91.7) | 70+ | Yes | Limited | Arizona | Phoenix AZ (Illuminate JV 2 GW) | DeepBlue 4.0 X, n-type bifacial | TOPCon | $0.10-0.14/W | Medium | 25-54% | 100 | 80 | 100 | 90 | 80 | 90 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 70
Trina Solar | https://www.trinasolar.com | China | Jiangsu Province | #1 (91.6) | 75+ | Yes | No | N/A | Sold TX to T1 Energy | Vertex S+/N, TOPCon bifacial | TOPCon | $0.10-0.14/W | HIGH | 54%+ | 100 | 80 | 100 | 90 | 80 | 90 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 70
LONGi Green Energy | https://www.longi.com | China | Shaanxi Province | Top 5 | 82 | Yes | No | N/A | None | Hi-MO 6/7/X, BC modules | TOPCon, BC | $0.09-0.14/W | HIGH | 54%+ | 90 | 70 | 100 | 90 | 80 | 90 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 70
REC Group | https://www.recgroup.com | Norway | Oslo | Premium | ~3 | Yes | Limited | Washington | WA (under construction) | Alpha Pure-RX, TwinPeak | HJT | $0.35-0.50/W | Low | 0-25% | 70 | 70 | 90 | 90 | 80 | 90 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 69
T1 Energy (FREYR) | https://www.t1.energy | US | Texas | Emerging | Ramping | N/A | Yes | Texas | Wilmer TX (5 GW), Austin TX (5 GW planned) | TOPCon modules (ex-Trina) | TOPCon | $0.25-0.32/W US | Low | 0% | 50 | 60 | 70 | 70 | 70 | 80 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 69
Meyer Burger | https://www.meyerburger.com | Switzerland | Thun | Premium | ~0.5 | N/A | Yes | Arizona | Goodyear AZ (2 GW planned) | Heterojunction modules | HJT | $0.40-0.55/W | Low | 0% | 50 | 40 | 90 | 80 | 70 | 80 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 69
Goldi Solar | https://goldisolar.com | India | Gujarat | Mono PERC, TOPCon, HJT | No | - | TOPCon/HJT modules; 14.7 GW capacity; OEM to global brands; exports to Germany, UAE, USA | TOPCon, HJT | 14.7 GW modules | $0.10-0.15/W | Low | Grade A | 7 | 7 | 80 | 80 | 70 | 70 | 80 | 100 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 67
Rayzon Solar | https://rayzonsolar.com | India | Gujarat | Mono PERC, TOPCon, Bifacial | No | - | TOPCon modules up to 9 GW capacity; exports to USA, Europe, Middle East | TOPCon | 9 GW modules | $0.11-0.16/W | Low | Grade A | 6 | 6 | 70 | 80 | 70 | 70 | 80 | 100 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 67
Illuminate USA | https://www.illuminateusa.com | US/China JV | Arizona | New | New 2025 | N/A | Yes | Arizona | Phoenix AZ (2 GW) | JA Solar technology modules | TOPCon | $0.25-0.35/W | Low | 0% | 50 | 60 | 70 | 70 | 70 | 70 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 67
Heliene | https://www.heliene.com | Canada | Ontario | Regional | ~0.6 | N/A | Yes | Minnesota | Mountain Iron MN (800 MW) | Mono PERC modules | PERC | $0.32-0.42/W | Low | 0% | 40 | 60 | 60 | 70 | 70 | 70 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 67
RenewSys | https://renewsysindia.com | India | Hyderabad | Mono PERC, TOPCon, Bifacial + Components | No | - | Integrated: modules + encapsulants + backsheets; DESERV modules; exports to 40+ countries | TOPCon, PERC | 2.5 GW modules, 1.8 GW cells | $0.12-0.17/W | Low | Grade A | 6 | 7 | 90 | 80 | 70 | 70 | 70 | 100 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 66
Tata Power Solar | https://tatapowersolar.com | India | Bengaluru | Mono PERC, Bifacial | No | - | Legacy brand 30+ yrs; 4.3 GW integrated capacity; govt/defense projects | PERC, Bifacial | 4.3 GW modules | $0.14-0.20/W | Low | Grade A | 7 | 9 | 80 | 70 | 80 | 80 | 60 | 100 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 66
Premier Energies | https://premierenergies.com | India | Telangana | Mono PERC, TOPCon, Bifacial | Planned | US JV with Heliene (1 GW cell) | N-Type TOPCon, Bifacial modules; 12 Top Performer in PVEL 2023 | TOPCon, PERC | 2 GW cells, 3.36 GW modules | $0.12-0.18/W | Low | Grade A | 7 | 7 | 70 | 80 | 70 | 70 | 70 | 100 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 66
T1 Energy | https://t1energyusa.com | US | Texas | Mono PERC, TOPCon | Yes | Wilmer TX | US-made TOPCon; 5 GW capacity; IRA eligible | TOPCon, PERC | 5 GW | $0.30-0.45/W | Low | US Emerging | 6 | 6 | 60 | 70 | 70 | 70 | 80 | 100 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 66
Maxeon | https://www.maxeon.com | Singapore | Singapore | Premium | ~3 | Yes | Limited | Various | Partner mfg | Maxeon 7, IBC cells | IBC | $0.40-0.55/W | Medium | 25% | 60 | 50 | 90 | 90 | 70 | 90 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 66
Tongwei | https://www.tw-solar.com | China | Sichuan Province | Top 5 | 45.7 | Yes | No | N/A | None | THC series, n-type TOPCon | TOPCon | $0.09-0.13/W | HIGH | 54%+ | 80 | 70 | 90 | 80 | 70 | 80 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 65
CHINT/Astronergy | https://www.astronergy.com | China | Zhejiang Province | Top 10 | 40.2 | Yes | No | N/A | None | ASTRO N series TOPCon | TOPCon | $0.10-0.14/W | HIGH | 54%+ | 80 | 70 | 80 | 80 | 70 | 80 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 65
Emmvee Solar | https://emmvee.com | India | Bengaluru | Mono PERC, Bifacial | No | - | 6.6 GW module capacity; German R&D partnership; Middle East/Africa exports | PERC, Bifacial | 6.6 GW modules | $0.11-0.16/W | Low | Grade A | 6 | 6 | 70 | 70 | 70 | 70 | 70 | 100 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 65
Jakson Solar | https://jaksonsolar.com | India | Noida | Mono PERC, Bifacial | No | - | Affordable modules; residential/commercial focus; EPC services | PERC | 1.5 GW modules | $0.10-0.14/W | Low | Listed | 5 | 6 | 70 | 60 | 70 | 70 | 80 | 100 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 65
Huasun Energy | https://huasunenergy.com | China | Anhui | HJT Modules | No | - | Himalaya HJT; bifacial; high temp performance | HJT | 20 GW | $0.12-0.18/W | HIGH | Grade A - HJT | 7 | 6 | 60 | 90 | 60 | 70 | 60 | 100 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 65
Saatvik Green Energy | https://saatviksolar.com | India | Haryana | Mono PERC, TOPCon, Bifacial | Planned | US facility planned | N-Type TOPCon modules; 1.5 GW + 1.5 GW expansion; US export focus | TOPCon, PERC | 3 GW modules | $0.12-0.17/W | Low | Emerging | 6 | 6 | 60 | 70 | 70 | 70 | 70 | 100 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 65
Gautam Solar | https://gautamsolar.com | India | Delhi | Mono PERC, Polycrystalline | No | - | Solar panels, lights, pumps; WoodMac Grade A; established 1997 | PERC, Poly | 1 GW modules | $0.10-0.14/W | Low | Grade A | 5 | 6 | 60 | 60 | 70 | 70 | 80 | 100 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 65
SEG Solar | https://segsolar.com | US | Texas | Emerging | New 2025 | N/A | Yes | Texas | Houston TX (2 GW) | TOPCon modules | TOPCon | $0.28-0.35/W | Low | 0% | 40 | 50 | 70 | 70 | 60 | 70 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 65
Mission Solar | https://www.missionsolar.com | US | Texas | Niche | ~0.2 | N/A | Yes | Texas | San Antonio TX | Residential/commercial modules | PERC | $0.35-0.45/W | Low | 0% | 40 | 50 | 50 | 70 | 70 | 70 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 65
Suniva | https://suniva.com | US | Georgia | Reopened | ~0.5 | N/A | Yes | Georgia | Norcross GA (1 GW) | Mono PERC cells | PERC | $0.35-0.45/W | Low | 0% | 40 | 50 | 60 | 70 | 60 | 70 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 65
Auxin Solar | https://auxinsolar.com | US | California | Niche | ~0.1 | N/A | Yes | California | San Jose CA (150 MW) | Premium segments | PERC | $0.40-0.50/W | Low | 0% | 30 | 50 | 50 | 70 | 70 | 70 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 65
Risen Energy | https://www.risenenergy.com | China | Zhejiang Province | Top 15 | ~18 | Yes | No | N/A | None | Hyper-ion HJT, Titan series | HJT, TOPCon | $0.10-0.14/W | HIGH | 54%+ | 70 | 60 | 90 | 80 | 70 | 80 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 64
Navitas Solar | https://navitassolar.in | India | Gujarat | Mono PERC, TOPCon | Planned | US Midwest 1.2 GW facility via Geosol Global | MonoPERC, TOPCon modules 40-740W; exports to North America | TOPCon, PERC | 2 GW modules | $0.11-0.16/W | Low | Emerging | 5 | 5 | 60 | 70 | 60 | 70 | 70 | 100 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 64
Grew Energy | https://grewenergy.com | India | Gujarat | Mono PERC, TOPCon | No | - | TOPCon modules; US export focus; establishing supply chains abroad | TOPCon, PERC | 2 GW modules | $0.11-0.15/W | Low | Emerging | 5 | 5 | 60 | 70 | 60 | 70 | 70 | 100 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 64
Solex Energy | https://solexenergy.com | India | Gujarat | Mono PERC, Bifacial | No | - | Export-focused manufacturer; US market expansion | PERC, Bifacial | 1.5 GW modules | $0.11-0.15/W | Low | Emerging | 5 | 5 | 60 | 60 | 60 | 70 | 70 | 100 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 64
Kosol Energy | https://kosolenergy.com | India | Rajasthan | Mono PERC | No | - | WoodMac H1 2025 Grade A; emerging exporter | PERC | 1 GW modules | $0.10-0.14/W | Low | Grade A | 5 | 5 | 50 | 60 | 60 | 70 | 80 | 100 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 64
INA Solar | https://inasolar.in | India | Jaipur | Mono PERC, TOPCon | No | - | 81% revenue growth 2024; targeting 8 GW module, 3 GW cell by 2027 | TOPCon, PERC | 2 GW modules | $0.11-0.15/W | Low | Emerging | 5 | 6 | 60 | 70 | 60 | 70 | 70 | 100 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 64
Boviet Solar | https://bovietsolar.com | Vietnam/US | North Carolina | Mono PERC, TOPCon | Yes | Greenville NC | US + Vietnam facilities; Triple ISO certified | TOPCon, PERC | 2.5 GW total | $0.22-0.35/W | Medium | US Growing | 5 | 5 | 60 | 60 | 70 | 70 | 70 | 100 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 64
Reliance Industries | https://www.ril.com/solar | India | Maharashtra | India Top 5 | No | - | New entrant via Reliance New Energy; HJT/TOPCon focus; massive domestic expansion | N/A | 10 GW target | Solar modules | TOPCon | $0.14-0.20/W | Low | 0% | 60 | 90 | 70 | 70 | 70 | 70 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 63
Aiko Solar | https://www.aikosolar.com | China | Shanghai | Top 20 (BC) | ~8 | Yes | No | N/A | None | ABC (back-contact) modules | Back-Contact | $0.12-0.16/W | HIGH | 54%+ | 60 | 60 | 100 | 80 | 60 | 70 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 62
Adani Solar | https://www.adanisolar.com | India | Gujarat | India #1 | No | - | Pride/Shine brands; India largest integrated (ingot-to-module); 10 GW target; 68% export ratio | N/A | 10 GW integrated | Bifacial TOPCon modules | TOPCon | $0.12-0.18/W | Low | 0% | 70 | 70 | 80 | 70 | 70 | 70 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 62
Huasun | https://www.huasun-pv.com | China | Anhui Province | Top 20 (HJT) | ~6 | Yes | No | N/A | None | Himalaya G12-132 HJT | HJT | $0.13-0.17/W | HIGH | 54%+ | 60 | 60 | 90 | 80 | 60 | 70 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 62
Waaree Energies | https://www.waaree.com | India | Gujarat | India Top 3 | Yes | Brookshire TX - 3.2 GW (operational Jan 2025, expanding to 5 GW by FY27) | TOPCon modules; 13.3 GW India + 3.2 GW US; #1 India exporter to US (15 GW YTD 2025) | N/A | 13.3 GW India + 3.2 GW US | Bifacial modules | TOPCon | $0.13-0.18/W | Low | 0% | 60 | 70 | 70 | 70 | 70 | 70 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 61
GCL SI | https://www.gclsi.com | China | Jiangsu Province | Top 10 | 25 | Yes | No | N/A | None | GCL-P720W, perovskite R&D | TOPCon, Perovskite | $0.08-0.12/W | HIGH | 54%+ | 70 | 60 | 90 | 70 | 60 | 70 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 60
DAS Solar | https://www.das-solar.com | China | Zhejiang Province | Top 10 | 22 | Yes | No | N/A | None | N-type TOPCon modules | TOPCon | $0.09-0.13/W | HIGH | 54%+ | 70 | 60 | 80 | 70 | 60 | 70 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 60
DMEGC (Hengdian) | https://www.dmegc.com | China | Zhejiang Province | Top 15 | ~15 | Yes | No | N/A | None | N-type TOPCon modules | TOPCon | $0.09-0.13/W | HIGH | 54%+ | 60 | 60 | 80 | 70 | 60 | 70 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 60
Vikram Solar | https://www.vikramsolar.com | India | West Bengal | India Top 5 | Planned | Brighton CO - 4 GW (VSK Energy JV); Southern state cell/wafer facility | TOPCon, Bifacial modules; 9.5 GW India capacity; $1.5B US investment via VSK Energy | N/A | 9.5 GW India + 4 GW US planned | ELDORA modules | TOPCon | $0.13-0.18/W | Low | 0% | 50 | 60 | 70 | 70 | 70 | 70 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 60
Yingli Solar | https://www.yinglisolar.com | China | Hebei Province | Top 20 | ~10 | Yes | No | N/A | None | PANDA 3.0 bifacial | TOPCon | $0.09-0.13/W | HIGH | 54%+ | 60 | 50 | 70 | 70 | 60 | 70 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 58

## Solar Racking
Company | Website | HQ Region | HQ State/Province | Market Position | US Mfg | US State(s) | US Facility Cities | Product Portfolio & Technology (5%) | Application | Pricing (15%) | Tariff Risk | Tariff Rate | Global (1-10) | Financial (1-10) | Innovation & Speed to Market (4%) | Quality (12%) | Technical Support (8%) | Warranty (10%) | TOTAL (80) | ESG/Sustainability (2%) | Supply Chain Risk (5%) | Delivery/Lead Time (8%) | Cybersecurity (1%) | Safety Certifications (7%) | IRA/Domestic Content (8%) | Customer References (4%) | Scalability & Capacity (3%) | Financial Health (7%) | Global Position (1%) | Weighted Average
Nextracker | https://www.nextracker.com | US | California | Tracker #1 | Yes | CA, TX, AZ | Fremont CA HQ, Houston TX, Phoenix AZ | NX Horizon, NX Gemini bifacial | Utility-scale trackers | $0.08-0.12/W | Low | 0% | 10 | 9 | 100 | 90 | 90 | 90 | 72 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 50 | 50 | 76
Array Technologies | https://arraytechinc.com | US | New Mexico | Tracker #2 | Yes | New Mexico | Albuquerque NM | DuraTrack HZ v3, OmniTrack | Utility-scale trackers | $0.07-0.11/W | Low | 0% | 9 | 8 | 90 | 90 | 80 | 90 | 68 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 50 | 50 | 74
IronRidge | https://www.ironridge.com | US | California | Top 3 Fixed | Yes | CA, TX, FL | Hayward CA, Dallas TX, Orlando FL | XR rails, FlashFoot, ground | Residential, C&I | $0.06-0.12/W | Low | 0% | 8 | 8 | 80 | 90 | 80 | 90 | 66 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 50 | 50 | 74
S-5! | https://s-5.com | US | Colorado | Metal Roof Expert | Yes | Iowa | Iowa City IA | PVKIT, SolarFoot, VersaGard | Metal roof systems | $0.03-0.06/W | Low | 0% | 6 | 7 | 80 | 90 | 80 | 90 | 63 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 50 | 50 | 74
Unirac | https://www.unirac.com | US | New Mexico | Top 3 Fixed | Yes | New Mexico | Albuquerque NM | SolarMount, RM, roof/ground | Residential, C&I rooftop | $0.08-0.15/W | Low | 0% | 8 | 8 | 80 | 90 | 80 | 90 | 65 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 50 | 50 | 74
Quick Mount PV | https://quickmountpv.com | US | California | Flashing Specialist | Yes | California | Walnut Creek CA | QBlock, Classic Comp, waterproof | Residential attachments | $50-150/unit | Low | 0% | 6 | 7 | 80 | 90 | 80 | 90 | 61 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 50 | 50 | 74
GameChange Solar | https://gamechangesolar.com | US | New York | Utility Tracker | Yes | NY, OH, TX | New York NY HQ, Zanesville OH, Houston TX | Genius Tracker, MaxSpan | Utility-scale | $0.06-0.10/W | Low | 0% | 8 | 7 | 80 | 80 | 80 | 80 | 63 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 50 | 50 | 71
SnapNrack | https://snapnrack.com | US | California | Residential Leader | Yes | CA, NV | San Luis Obispo CA, Reno NV | Pre-assembled clamps, OmniLug | Residential rooftop | $0.05-0.10/W | Low | 0% | 7 | 7 | 80 | 80 | 80 | 80 | 62 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 50 | 50 | 71
OMCO Solar | https://omcosolar.com | US | Arizona | Trackers, Fixed Tilt, Carports | Yes | Arizona, Alabama | Origin tracker; OMCO Star Controller; 100% US steel | 10+ GW shipped | $0.11-0.16/W | Low | US Leader | 7 | 7 | 8 | 80 | 80 | 80 | 70 |  | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 50 | 50 | 70
EcoFasten Solar | https://ecofastensolar.com | US | Vermont | Specialized | Yes | VT, MA | Morrisville VT, Worcester MA | Rock-It, GreenFasten, rail-less | Residential/commercial | $0.04-0.08/W | Low | 0% | 5 | 6 | 80 | 80 | 70 | 80 | 57 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 50 | 50 | 70
Roof Tech | https://roof-tech.us | Japan | Tokyo | Rail-less Specialist | Yes | CA, NJ | Ontario CA, Edison NJ | RT-MINI, E Mount | Residential | $0.05-0.09/W | Low | 0-25% | 5 | 7 | 80 | 80 | 70 | 80 | 57 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 50 | 50 | 70
QuickBOLT | https://quickbolt.com | US | California | Hardware Specialist | Yes | California | Concord CA | Microflashing, mounting hardware | Attachments | $15-50/unit | Low | 0% | 5 | 6 | 70 | 80 | 70 | 80 | 55 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 50 | 50 | 69
Tamarack Solar | https://tamaracksolar.com | US | Vermont | Adjustable Systems | Yes | Vermont | Waterbury VT | Top-of-Pole, Side-of-Pole | Off-grid, rural | $0.08-0.15/W | Low | 0% | 5 | 6 | 70 | 80 | 70 | 80 | 54 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 50 | 50 | 69
Valmont Solar | https://valmontsolar.com | US | Nebraska | Trackers, Fixed Tilt | Yes | Nebraska, multiple | Convert tracker; structural steel expertise | 5+ GW shipped | $0.10-0.15/W | Low | US Established | 6 | 8 | 7 | 80 | 80 | 80 | 60 |  | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 50 | 50 | 68
FTC Solar | https://ftcsolar.com | US | Texas | Trackers | Yes | Texas | Voyager+ tracker; diffuse light optimization | 5+ GW shipped | $0.10-0.15/W | Low | US Emerging | 6 | 5 | 6 | 70 | 70 | 70 | 70 |  | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 50 | 50 | 66
Soltec | https://soltec.com | Spain | Murcia | Global Tracker | Limited | Texas | Houston TX (limited) | SF7 bifacial tracker | Utility-scale | $0.07-0.11/W | Medium | ~25% | 7 | 7 | 80 | 80 | 70 | 80 | 60 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 50 | 50 | 62
K2 Systems | https://k2-systems.com | Germany | Bavaria | European Leader | No | N/A | None | Various mounting systems | Residential/C&I | $0.06-0.10/W | Medium | ~25% | 6 | 7 | 70 | 80 | 70 | 80 | 58 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 50 | 50 | 62
Arctech Solar | https://arctechsolar.com | China | Kunshan | Trackers, Fixed Tilt | No | - | SkySmart II tracker; 1P/2P systems; MENA leader | 50+ GW shipped | $0.08-0.12/W | Medium | #4 Global Tracker | 8 | 7 | 8 | 80 | 70 | 70 | 70 |  | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 50 | 50 | 60
Trina Tracker | https://trinatracker.com | China | Changzhou | Trackers | No | - | Vanguard 1P/2P; Trina Solar integration | 15+ GW shipped | $0.08-0.12/W | Medium | Top 10 Global | 7 | 8 | 7 | 70 | 70 | 70 | 70 |  | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 50 | 50 | 59
PV Hardware | https://pvhardware.com | Spain | Valencia | Trackers, Fixed Tilt | No | - | Axone Duo tracker; terrain adaptive | 30+ GW shipped | $0.09-0.14/W | Low | #3 Global Tracker | 7 | 7 | 8 | 80 | 70 | 70 | 60 |  | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 50 | 50 | 58
PVH (Arctech) | https://www.arctechsolar.com | China | Jiangsu Province | Low Cost Tracker | No | N/A | None | SkyLine II tracker | Utility-scale | $0.04-0.07/W | HIGH | 54%+ | 7 | 6 | 70 | 70 | 60 | 70 | 57 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 50 | 50 | 58

## Solar Carports
Company | Website | HQ Region | HQ State/Province | Market Position | US Mfg | US State(s) | US Facility Cities | Product Portfolio & Technology (5%) | Capacity Range | Pricing (15%) | Tariff Risk | Tariff Rate | Global Position (1%) | Financial Health (7%) | Innovation & Speed to Market (4%) | Quality (12%) | Technical Support (8%) | Warranty (10%) | ESG/Sustainability (2%) | Supply Chain Risk (5%) | Delivery/Lead Time (8%) | Cybersecurity (1%) | Safety Certifications (7%) | IRA/Domestic Content (8%) | Customer References (4%) | Scalability & Capacity (3%) | Weighted Average
M Bar C Construction | https://mbarcconstruction.com | US | California | #1 Commercial (2025) | Yes | California, Massachusetts | San Marcos CA, MA (Eastern div) | Steel carports, parking garages, canopies; 1+ GW installed | 100 kW - 15+ MW | $3-4.50/W | Low | 0% | 90 | 80 | 80 | 90 | 90 | 90 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 78
Parasol Structures | https://parasolstructures.com | US | California | Leading Specialist | Yes | California, Nevada, Arizona | Sacramento CA, Las Vegas NV, Phoenix AZ (100% US steel) | Longspan, T-carports, SOLFLEX, canopies | 50 kW - 10+ MW | $3-5/W installed | Low | 0% | 80 | 80 | 90 | 90 | 90 | 90 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 78
Quest Renewables | https://questrenewables.com | US | Georgia | Innovation Leader | Yes | Georgia | Atlanta GA (Bravo Infrastructure) | QuadPod™ double cantilever, Long Span, FAST Carport | 100 kW - 10+ MW | $3-4.50/W | Low | 0% | 70 | 70 | 90 | 80 | 80 | 80 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 73
Solar Mounts LLC | https://solarmounts.com | US | Michigan | Regional Leader | Yes | Michigan, New Jersey | Marshall MI HQ, NJ distribution | L/T/Y/A-frame carports, ground mounts, ballasted roof; 800+ MW shipped | 25 kW - 5+ MW | $2.50-4/W | Low | 0% | 70 | 70 | 80 | 80 | 80 | 80 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 73
Brooklyn Solar Canopy | https://brooklynsolarcanopy.com | US | New York | Regional Leader | Yes | New York | Brooklyn NY (US aluminum extrusion) | Cantilever, A-frame, Post-Truss, Wood | 20 kW - 5 MW | $3.50-5.50/W | Low | 0% | 60 | 70 | 80 | 80 | 80 | 80 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 73
Baja Carports | https://www.bajacarports.com | US | Arizona | National Provider | Yes | Arizona, California, Texas | Phoenix AZ, Los Angeles CA, Houston TX | Solar carports, RV/boat canopies | 10 kW - 5+ MW | $3-4.50/W | Low | 0% | 70 | 70 | 70 | 80 | 80 | 80 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 72
Carport Structures Corp. | https://carportstructures.com | US | Georgia | 40+ Years | Yes | Georgia, Texas, California | Atlanta GA, Dallas TX, San Diego CA | Solar-ready carports, custom steel | 20 kW - 10+ MW | $3.50-5/W | Low | 0% | 70 | 70 | 70 | 80 | 80 | 80 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 72
RBI Solar | https://rbisolar.com | US | Ohio | National Provider | Yes | Ohio, multiple states | Cincinnati OH | Carports, ground mounts, rooftop | 50 kW - 10+ MW | $3-4.50/W | Low | 0% | 70 | 70 | 70 | 80 | 80 | 80 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 72
Teichert Solar | https://www.teichert.com/solar | US | California | CA Regional | Yes | California | Sacramento CA (Teichert Construction) | Solar carport canopies, parking garages, ground mounts; 100+ MW | 100 kW - 10+ MW | $3-4.50/W | Low | 0% | 60 | 70 | 70 | 80 | 80 | 80 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 72
Envision Solar (Beam) | https://beamforall.com | US | California | Mobile/EV Focus | Yes | California | San Diego CA | EV ARC™ mobile solar EV charger, Solar Tree® | Single unit - 10+ units | $30-50K/unit | Low | 0% | 60 | 60 | 100 | 80 | 70 | 70 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 70
Orion Solar Racking | https://orionsolarracking.com | US | Colorado | Commercial Focus | Yes | Colorado, Texas, California | Denver CO, Austin TX, Fresno CA | Commercial carports, tracking | 50 kW - 10 MW | $3-4.50/W | Low | 0% | 60 | 60 | 70 | 80 | 70 | 80 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 70
PLP (Preformed Line) | https://plp.com/renewables/solar/carports | US | Ohio | Emerging | Yes | Ohio | Mayfield Village OH | Solar Carport pre-engineered systems | 50 kW - 5 MW | $3-4.50/W | Low | 0% | 50 | 70 | 70 | 70 | 70 | 70 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 68
Polar Racking | https://www.polar-racking.com | US/Canada | Ontario | Growing | Yes | Wisconsin, Ohio, New York | Milwaukee WI, Cleveland OH, Buffalo NY | Long-span carport solutions | 50 kW - 5 MW | $2.50-4/W | Low | 0% | 60 | 60 | 70 | 70 | 70 | 70 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 68
Park n Shade | https://www.parknshade.com | US | Arizona | Regional | Yes | Arizona, Nevada, New Mexico | Tempe AZ, Las Vegas NV, Albuquerque NM | Box-beam, I-beam, Tee-style | 25 kW - 2 MW | $3.50-5/W | Low | 0% | 50 | 60 | 70 | 70 | 70 | 70 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 67
TENCO Solar | https://tencosolar.com | US | California | California Focus | Yes | California | Rancho Cordova CA | Custom commercial, single-pillar | 25 kW - 5 MW | $3.50-5.50/W | Low | 0% | 50 | 60 | 70 | 70 | 70 | 70 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 67
MC Power Companies | https://mcpowercompanies.com | US | Illinois | Regional | Yes | Illinois, Indiana, Ohio | Chicago IL, Indianapolis IN, Columbus OH | Custom solar canopy solutions | 20 kW - 3 MW | $3.50-5/W | Low | 0% | 50 | 60 | 60 | 70 | 70 | 70 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 67
Schletter | https://www.schletter-group.com | Germany | Bavaria | Global Player | Limited | North Carolina | Shelby NC (service center) | Park@Sol, SunRide carport systems | 100 kW - 20+ MW | $2.80-4.50/W | Medium | ~25% | 70 | 80 | 80 | 80 | 80 | 80 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 66
Solar Carports Direct | https://solarcarportsdirect.com | US | California | Specialist | Yes | California | CA (Made in America) | Pre-engineered carport kits | 10 kW - 2 MW | $3-4/W kit | Low | 0% | 40 | 50 | 70 | 70 | 70 | 70 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 66
Kern Solar Structures | https://kernstructures.com | US | California | Residential Focus | Yes | California | Bakersfield CA | Solar CarPorT, residential awnings | 3 kW - 20 kW | $4-6/W | Low | 0% | 40 | 50 | 70 | 70 | 70 | 70 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 66
S:FLEX GmbH | https://www.s-flex.com | Germany | Thuringia | European Leader | No | N/A | None (Europe mfg) | Carport systems, flat roof, ground mount | 100 kW - 20+ MW | $2.50-4/W | Medium | ~25% | 60 | 70 | 80 | 80 | 70 | 80 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 64

## Gas Generators
Company | Website | HQ Region | HQ State/Province | Market Position | US Mfg | US State(s) | US Facility Cities | Product Portfolio & Technology (5%) | Power Range | Pricing (15%) | Tariff Risk | Tariff Rate | Global (1-10) | Financial (1-10) | Innovation & Speed to Market (4%) | Quality (12%) | Technical Support (8%) | Warranty (10%) | TOTAL (80) | ESG/Sustainability (2%) | Supply Chain Risk (5%) | Delivery/Lead Time (8%) | Cybersecurity (1%) | Safety Certifications (7%) | IRA/Domestic Content (8%) | Customer References (4%) | Scalability & Capacity (3%) | Financial Health (7%) | Global Position (1%) | Weighted Average
Cummins | https://www.cummins.com/generators | US | Indiana | Global Top 3 | Yes | IN, NY, MN, NC | Columbus IN HQ, Jamestown NY, Fridley MN, Rocky Mount NC | QSK/HSK NG series, lean-burn | 40 kW - 3.5 MW | $350-700/kW | Low | 0% | 10 | 10 | 90 | 100 | 100 | 100 | 76 | 50 | 100 | 60 | 50 | 70 | 90 | 50 | 50 | 50 | 50 | 81
Caterpillar | https://www.cat.com/power-generation | US | Illinois | Global #1 | Yes | IL, IN, GA, TX | Peoria IL HQ, Lafayette IN, Griffin GA, San Antonio TX | G3300-G3600 NG/biogas gensets | 150 kW - 4.5 MW | $400-800/kW | Low | 0% | 10 | 10 | 90 | 100 | 100 | 100 | 75 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 50 | 50 | 79
Siemens Energy | https://www.siemens-energy.com | Germany | Bavaria | Large Turbines | Yes | NC, TX, FL | Charlotte NC, Houston TX, Orlando FL | SGT gas turbines | 5 MW - 600+ MW | Enterprise | Low | 0% | 9 | 10 | 100 | 100 | 90 | 90 | 71 | 80 | 70 | 60 | 80 | 70 | 90 | 50 | 50 | 50 | 50 | 78
GE Vernova | https://www.gevernova.com/gas-power | US | Massachusetts | Gas Turbine Leader | Yes | SC, NY, TX | Greenville SC, Schenectady NY, Houston TX | LM series aero-derivative, frame | 18 MW - 571 MW | Enterprise | Low | 0% | 10 | 10 | 100 | 100 | 90 | 90 | 72 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 50 | 50 | 77
Generac | https://www.generac.com | US | Wisconsin | US Leader | Yes | WI, SC | Waukesha WI HQ, Trenton SC, Jefferson WI | Protector series NG standby/prime | 10 kW - 6 MW | $300-600/kW | Low | 0% | 9 | 9 | 80 | 90 | 90 | 90 | 70 | 80 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 50 | 50 | 75
Kohler | https://www.kohlerpower.com | US | Wisconsin | Premium | Yes | Wisconsin | Kohler WI | Residential NG (8-26 kW), industrial | 8 kW - 3 MW | $350-800/kW | Low | 0% | 8 | 9 | 80 | 90 | 90 | 90 | 66 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 50 | 50 | 74
Waukesha (INNIO) | https://www.innio.com/waukesha | US | Wisconsin | Industrial Gas | Yes | WI, TX | Waukesha WI, Houston TX | Rich-burn gas engines | 30 kW - 3.6 MW | $400-750/kW | Low | 0% | 7 | 8 | 80 | 90 | 80 | 90 | 64 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 50 | 50 | 74
INNIO Jenbacher | https://www.innio.com | Austria | Tyrol | High-Efficiency | Limited | Texas | Houston TX (service hub) | Type 2-6 gas engines, biogas/H2 | 250 kW - 10 MW | $500-900/kW | Medium | ~25% | 7 | 8 | 90 | 90 | 80 | 90 | 63 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 50 | 50 | 67
MTU (Rolls-Royce) | https://www.mtu-solutions.com | Germany | Bavaria | Premium | Limited | MI, IN | Novi MI (Americas HQ), Indianapolis IN | Series 400/4000 gas engines | 100 kW - 2.5 MW | $600-1,000/kW | Medium | ~25% | 7 | 9 | 90 | 90 | 80 | 90 | 63 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 50 | 50 | 67
Blue Star Power | https://www.bluestarpowersystems.com | US | California | Growing | Yes | CA, TX | Oakland CA, Dallas TX | NG standby generators | 20 kW - 500 kW | $350-650/kW | Low | 0% | 5 | 6 | 70 | 70 | 70 | 70 | 53 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 50 | 50 | 66
Briggs & Stratton | https://www.briggsandstratton.com | US | Wisconsin | Residential | Yes | WI, GA | Wauwatosa WI, Statesboro GA | Standby NG generators | 10 kW - 48 kW | $3,000-15,000 | Low | 0% | 6 | 6 | 60 | 70 | 70 | 70 | 54 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 50 | 50 | 66

## Diesel Generators
Company | Website | HQ Region | HQ State/Province | Market Position | US Mfg | US State(s) | US Facility Cities | Product Portfolio & Technology (5%) | Power Range | Pricing (15%) | Tariff Risk | Tariff Rate | Global (1-10) | Financial (1-10) | Innovation & Speed to Market (4%) | Quality (12%) | Technical Support (8%) | Warranty (10%) | TOTAL (80) | ESG/Sustainability (2%) | Supply Chain Risk (5%) | Delivery/Lead Time (8%) | Cybersecurity (1%) | Safety Certifications (7%) | IRA/Domestic Content (8%) | Customer References (4%) | Scalability & Capacity (3%) | Financial Health (7%) | Global Position (1%) | Weighted Average
Cummins | https://www.cummins.com/diesel-generators | US | Indiana | Global Top 3 | Yes | IN, NY, MN, NC | Columbus IN HQ, Jamestown NY, Fridley MN, Rocky Mount NC | C/QS series diesel gensets | 20 kW - 3.5 MW | $200-450/kW | Low | 0% | 10 | 10 | 90 | 100 | 100 | 100 | 77 | 50 | 100 | 60 | 50 | 70 | 90 | 50 | 50 | 50 | 50 | 81
Caterpillar | https://www.cat.com/diesel-generators | US | Illinois | Global #1 (20%) | Yes | IL, IN, GA, TX | Peoria IL HQ, Lafayette IN, Griffin GA, Seguin TX | D1500, 3500 series, XQ portable | 20 kW - 16 MW | $250-500/kW | Low | 0% | 10 | 10 | 90 | 100 | 100 | 100 | 76 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 50 | 50 | 79
Generac | https://www.generac.com/industrial | US | Wisconsin | Strong Commercial | Yes | WI, SC | Waukesha WI HQ, Trenton SC | SD/MD series diesel standby | 10 kW - 3 MW | $200-400/kW | Low | 0% | 9 | 9 | 80 | 90 | 90 | 90 | 70 | 80 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 50 | 50 | 75
Kohler Power | https://www.kohlerpower.com/diesel | US | Wisconsin | Premium | Yes | Wisconsin | Kohler WI | KD series diesel industrial | 10 kW - 4 MW | $250-500/kW | Low | 0% | 8 | 9 | 80 | 90 | 90 | 90 | 67 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 50 | 50 | 74
Atlas Copco | https://www.atlascopco.com/power | Sweden | Stockholm | Mobile/Portable | Yes | SC, TX | Rock Hill SC, Houston TX | QAX/QAS mobile generators | 20 kW - 1.5 MW | $300-550/kW | Low | 0% | 7 | 9 | 80 | 90 | 80 | 90 | 65 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 50 | 50 | 74
John Deere Power | https://www.deere.com/engines | US | Iowa | Agricultural/Industrial | Yes | IA, WI, GA | Waterloo IA, Horicon WI, Augusta GA | PowerTech diesel engines | 30 kW - 600 kW | $250-450/kW | Low | 0% | 7 | 9 | 80 | 90 | 80 | 90 | 65 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 50 | 50 | 74
Detroit Diesel | https://demanddetroit.com | US | Michigan | Heavy-Duty | Yes | Michigan | Detroit MI | DD series industrial gensets | 100 kW - 2 MW | $300-500/kW | Low | 0% | 7 | 8 | 70 | 80 | 80 | 80 | 60 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 50 | 50 | 70
HIMOINSA | https://www.himoinsa.com | Spain | Murcia | Global | Yes | Florida | Miami FL (Americas HQ) | HRFW/HYW series | 3 kW - 3.3 MW | $200-400/kW | Low | 0% | 6 | 7 | 70 | 80 | 70 | 80 | 58 | 50 | 70 | 60 | 50 | 70 | 90 | 50 | 50 | 50 | 50 | 69
MTU (Rolls-Royce) | https://www.mtu-solutions.com | Germany | Bavaria | Premium Industrial | Limited | MI, IN | Novi MI (Americas HQ), Indianapolis IN | Series 2000-4000 diesel | 150 kW - 4.5 MW | $400-800/kW | Medium | ~25% | 7 | 9 | 90 | 90 | 80 | 90 | 64 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 50 | 50 | 67
Perkins (Caterpillar) | https://www.perkins.com | UK | Cambridgeshire | OEM Engines | Limited | Georgia | Griffin GA (via Cat) | OEM diesel engines | 7 kW - 2.5 MW | $200-400/kW | Medium | ~25% | 7 | 9 | 80 | 90 | 80 | 90 | 66 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 50 | 50 | 66
Doosan | https://www.doosaninfracore.com | South Korea | Seoul | Growing | Limited | Georgia | Suwanee GA (Bobcat/Doosan) | Industrial diesel gensets | 100 kW - 750 kW | $250-400/kW | Low-Med | ~25% | 6 | 8 | 70 | 80 | 70 | 80 | 59 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 50 | 50 | 62
Yanmar | https://www.yanmar.com | Japan | Osaka | Compact Segment | Limited | Georgia | Adairsville GA | Compact diesel generators | 3 kW - 500 kW | $300-500/kW | Low-Med | ~25% | 6 | 8 | 70 | 80 | 70 | 80 | 58 | 50 | 50 | 60 | 50 | 70 | 30 | 50 | 50 | 50 | 50 | 62

## EV Chargers L2
Company | Website | HQ Region | HQ State/Province | Market Position | US Mfg | US State(s) | US Facility Cities | Product Portfolio & Technology (5%) | Power Output | Pricing (15%) | Tariff Risk | Tariff Rate | Global (1-10) | Financial (1-10) | Innovation & Speed to Market (4%) | Quality (12%) | Technical Support (8%) | Warranty (10%) | TOTAL (80) |  |  | ESG/Sustainability (2%) | Supply Chain Risk (5%) | Delivery/Lead Time (8%) | Cybersecurity (1%) | Safety Certifications (7%) | IRA/Domestic Content (8%) | Customer References (4%) | Scalability & Capacity (3%) | Financial Health (7%) | Global Position (1%) | Weighted Average
Tesla Wall Connector | https://www.tesla.com/support/home-charging | US | California | Tesla Ecosystem | Yes | CA, NV | Fremont CA, Sparks NV | Wall Connector Gen 3 | 11.5 kW (48A) | $475; ~$1,500 installed | Low | 0% | 9 | 10 | 100 | 90 | 80 | 90 | 70 |  |  | 80 | 70 | 60 | 80 | 70 | 90 | 50 | 50 | 50 | 50 | 76
Siemens VersiCharge | https://new.siemens.com/evcharging | Germany | Bavaria | Major Player | Yes | GA, TX, WI | Alpharetta GA, Grand Prairie TX, Milwaukee WI | VersiCharge residential/commercial | 7.4 kW - 22 kW | $600-2,500/unit | Low | 0% | 7 | 9 | 80 | 90 | 90 | 90 | 66 |  |  | 80 | 70 | 60 | 80 | 70 | 90 | 50 | 50 | 50 | 50 | 76
ABB | https://new.abb.com/ev-charging | Switzerland | Zurich | Industrial | Yes | TX, TN, VA | Houston TX, Memphis TN, Richmond VA | Terra AC chargers | 7.4 kW - 22 kW | $2,500-6,000 commercial | Low | 0% | 7 | 9 | 80 | 90 | 80 | 90 | 64 |  |  | 80 | 70 | 60 | 80 | 70 | 90 | 50 | 50 | 50 | 50 | 75
ChargePoint | https://www.chargepoint.com | US | California | US #1 Network | Yes | California | Campbell CA (2,000+/month) | CT4000, CPF50, Home Flex | 6.6 kW - 19.2 kW | Home: $700-1,500; Comm: $4,500-8,200 | Low | 0% | 9 | 8 | 90 | 90 | 90 | 90 | 68 |  |  | 50 | 70 | 60 | 60 | 70 | 90 | 50 | 50 | 50 | 50 | 75
ClipperCreek (Enphase) | https://www.clippercreek.com | US | California | Premium Residential | Yes | California | Auburn CA | HCS, LCS series, hardwired | 3.8 kW - 19.2 kW | $500-1,500/unit | Low | 0% | 7 | 8 | 80 | 90 | 80 | 90 | 64 |  |  | 80 | 70 | 60 | 60 | 70 | 90 | 50 | 50 | 50 | 50 | 74
Eaton | https://www.eaton.com/ev | Ireland | Dublin | Industrial | Yes | OH, TX, WI, SC | Cleveland OH, Houston TX, Milwaukee WI, Greenville SC | Green Motion, xChargeIn | 7.4 kW - 22 kW | $1,500-5,000/unit | Low | 0% | 7 | 9 | 80 | 90 | 80 | 90 | 65 |  |  | 50 | 70 | 60 | 60 | 70 | 90 | 50 | 50 | 50 | 50 | 74
Bosch | https://www.bosch.com/ev | Germany | Baden-Württemberg | Premium | Yes | SC, MI | Charleston SC, Farmington Hills MI | EV400/800 series | 7.4 kW - 19.2 kW | $600-900/unit | Low | 0% | 6 | 9 | 80 | 90 | 80 | 90 | 63 |  |  | 50 | 70 | 60 | 60 | 70 | 90 | 50 | 50 | 50 | 50 | 74
Leviton | https://www.leviton.com/ev | US | New York | Residential | Yes | New York | Melville NY | Evr-Green series | 7.7 kW - 11.5 kW | $500-900/unit | Low | 0% | 6 | 8 | 70 | 80 | 80 | 80 | 60 |  |  | 50 | 70 | 60 | 60 | 70 | 90 | 50 | 50 | 50 | 50 | 70
EverCharge | https://evercharge.com | US | California | L2 AC, DCFC | Yes | California | SmartPower load management; multi-family specialist | 7.7-19.2 kW | $700-2,000 | Low | US MF Leader | 6 | 6 | 7 | 80 | 80 | 80 | 60 |  |  |  | 50 | 70 | 60 | 60 | 70 | 90 | 50 | 50 | 50 | 50 | 68
Autel Energy | https://autelenergy.com | US/China | New York | L2 AC Chargers | Partial | Distribution US | MaxiCharger Home/Commercial; smart features | 9.6-19.2 kW | $500-1,500 | Medium | US Growing | 6 | 6 | 7 | 70 | 70 | 70 | 80 |  |  |  | 50 | 70 | 60 | 60 | 70 | 90 | 50 | 50 | 50 | 50 | 68
Webasto | https://webasto-charging.com | Germany | Munich | L2 AC Chargers | Yes | Michigan | Pure, Go, Live chargers; automotive supplier | 7.4-22 kW | $500-1,800 | Low | OEM Partner | 6 | 8 | 7 | 80 | 70 | 80 | 60 |  |  |  | 50 | 70 | 60 | 60 | 70 | 90 | 50 | 50 | 50 | 50 | 67
Blink Charging | https://blinkcharging.com | US | Florida | Top 5 Network | Yes | FL, MD | Miami Beach FL HQ, Bowie MD (Blink IQ) | IQ 200, Series 6/7 | 7.7 kW - 19.2 kW | $2,000-6,000 commercial | Low | 0% | 7 | 6 | 80 | 70 | 70 | 70 | 57 |  |  | 50 | 70 | 60 | 60 | 70 | 90 | 50 | 50 | 50 | 50 | 67
Emporia | https://www.emporiaenergy.com | US | Colorado | Smart Home | Yes | Colorado | Littleton CO | Emporia EV Charger | 9.6 kW (40A) | $400-550/unit | Low | 0% | 5 | 6 | 80 | 70 | 70 | 70 | 55 |  |  | 50 | 70 | 60 | 60 | 70 | 90 | 50 | 50 | 50 | 50 | 67
Wallbox | https://wallbox.com | Spain | Catalonia | Smart Home | Limited | Texas | Arlington TX (planned) | Pulsar Plus, Quasar (V2G) | 7.4 kW - 11.5 kW | $650-1,800/unit | Medium | ~25% | 6 | 6 | 90 | 80 | 70 | 80 | 59 |  |  | 50 | 50 | 60 | 60 | 70 | 30 | 50 | 50 | 50 | 50 | 63
JuiceBox (Enel) | https://evcharging.enelx.com | Italy | Lazio | Smart Home | Limited | California | San Francisco CA (office) | JuiceBox 40/48 | 9.6 kW - 11.5 kW | $600-800/unit | Medium | ~25% | 6 | 8 | 80 | 80 | 70 | 80 | 59 |  |  | 50 | 50 | 60 | 60 | 70 | 30 | 50 | 50 | 50 | 50 | 63
Flo (AddEnergie) | https://flo.com | Canada | Quebec | L2 AC, DCFC | No | - | FLO Home, CoRe+; North America network | 7.2-19.2 kW | $700-2,200 | Low | NA Network | 6 | 7 | 7 | 80 | 80 | 80 | 70 |  |  |  | 50 | 50 | 60 | 60 | 70 | 30 | 50 | 50 | 50 | 50 | 62
EVBox | https://evbox.com | Netherlands | Amsterdam | L2 AC Chargers | No | - | Elvi, BusinessLine; smart charging; 500K+ chargers | 7.4-22 kW | $600-2,500 | Low | EU Leader | 7 | 7 | 8 | 80 | 80 | 80 | 60 |  |  |  | 50 | 50 | 60 | 60 | 70 | 30 | 50 | 50 | 50 | 50 | 61
Grizzl-E | https://grfrizzl-e.com | Canada | Ontario | Value Segment | No | N/A | Canada | Grizzl-E Smart/Classic | 9.6 kW - 19.2 kW | $450-600/unit | Low | 0% (USMCA) | Low | 0% | 60 | 60 | 70 | 80 | 8 | 9 | 56 | 50 | 50 | 60 | 60 | 70 | 30 | 50 | 50 | 50 | 50 | 59

## EV Chargers DCFC
Company | Website | HQ Region | HQ State/Province | Market Position | US Mfg | US State(s) | US Facility Cities | Product Portfolio & Technology (5%) | Power Output | Pricing (15%) | Tariff Risk | Tariff Rate | Global (1-10) | Financial (1-10) | Innovation & Speed to Market (4%) | Quality (12%) | Technical Support (8%) | Warranty (10%) | TOTAL (80) | ESG/Sustainability (2%) | Supply Chain Risk (5%) | Delivery/Lead Time (8%) | Cybersecurity (1%) | Safety Certifications (7%) | IRA/Domestic Content (8%) | Customer References (4%) | Scalability & Capacity (3%) | Financial Health (7%) | Global Position (1%) | Weighted Average
Tesla Supercharger | https://www.tesla.com/supercharger | US | California | Dominant (50%+) | Yes | CA, NV | Fremont CA, Lathrop CA, Sparks NV | V3 (250 kW), V4 (350+ kW), NACS | 72 kW - 350 kW | $28K-60K/stall installed | Low | 0% | 10 | 10 | 100 | 90 | 90 | 90 | 73 | 80 | 70 | 60 | 80 | 70 | 90 | 50 | 50 | 50 | 50 | 77
ABB E-mobility | https://e-mobility.abb.com | Switzerland | Zurich | Global Leader | Yes | SC, TX | Columbia SC, San Antonio TX | Terra 360 (360 kW), Terra HP | 50 kW - 360 kW | $50K-150K installed | Low | 0% | 9 | 9 | 90 | 90 | 90 | 90 | 68 | 80 | 70 | 60 | 80 | 70 | 90 | 50 | 50 | 50 | 50 | 76
Siemens | https://new.siemens.com/evcharging | Germany | Bavaria | Industrial | Yes | GA, TX, WI | Alpharetta GA, Grand Prairie TX, Milwaukee WI | Sicharge D series | 50 kW - 300 kW | $40K-100K | Low | 0% | 7 | 9 | 80 | 90 | 90 | 90 | 65 | 80 | 70 | 60 | 80 | 70 | 90 | 50 | 50 | 50 | 50 | 76
ChargePoint | https://www.chargepoint.com/commercial | US | California | Major Network | Yes | California | Campbell CA | Express Plus, Omni Port | 62.5 kW - 500 kW | $38K-150K/dispenser | Low | 0% | 8 | 8 | 90 | 80 | 90 | 80 | 65 | 50 | 70 | 60 | 60 | 70 | 90 | 50 | 50 | 50 | 50 | 72
Delta Electronics | https://www.deltaww.com/ev | Taiwan | Taipei | Industrial | Yes | MI, IN, TX | Livonia MI, Indianapolis IN, Plano TX | City DC chargers | 50 kW - 350 kW | $35K-90K | Low | 0% | 6 | 8 | 80 | 80 | 80 | 80 | 61 | 50 | 70 | 60 | 60 | 70 | 90 | 50 | 50 | 50 | 50 | 71
Tritium | https://www.tritiumcharging.com | Australia | Queensland | Restructured | Yes | Tennessee | Lebanon TN (30K/yr capacity) | RTM 75, PKM150, TRI-FLEX | 50 kW - 350 kW | $40K-120K installed | Low | 0% | 7 | 5 | 90 | 80 | 70 | 80 | 59 | 50 | 70 | 60 | 60 | 70 | 90 | 50 | 50 | 50 | 50 | 70
BTC Power | https://www.btcpower.com | US | California | Fleet Specialist | Yes | California | Santa Ana CA | Gen 3 DCFC, Fleet chargers | 25 kW - 350 kW | $30K-100K installed | Low | 0% | 6 | 6 | 80 | 80 | 70 | 80 | 58 | 50 | 70 | 60 | 60 | 70 | 90 | 50 | 50 | 50 | 50 | 70
Wallbox | https://wallbox.com | Spain | Barcelona | DCFC 25-400 kW | Yes | Texas | Supernova; Hypernova; Arlington TX manufacturing | 25-400 kW | $30-80K/unit | Low | US Growing | 7 | 6 | 8 | 80 | 70 | 80 | 70 |  | 50 | 70 | 60 | 60 | 70 | 90 | 50 | 50 | 50 | 50 | 68
InCharge Energy | https://inchargeenergy.com | US | California | Fleet DCFC | Yes | California | ICE-600, ICE-480; fleet specialist; ABB subsidiary | 60-350 kW | $40-80K/unit | Low | Fleet US | 6 | 7 | 7 | 80 | 80 | 80 | 60 |  | 50 | 70 | 60 | 60 | 70 | 90 | 50 | 50 | 50 | 50 | 68
FLO | https://flo.com | Canada | Quebec | L2, DCFC | Planned | US expansion | FLO Ultra DCFC; SmartDC; North America focus | 50-320 kW | $35-70K/unit | Low | NA Leader | 6 | 7 | 7 | 80 | 80 | 80 | 70 |  | 50 | 70 | 60 | 60 | 70 | 60 | 50 | 50 | 50 | 50 | 67
SK Signet | https://www.sksignet.com | South Korea | Seoul | New Entrant | Planned | Texas | Plano TX (planned) | Ultra-fast 350kW+ | 60 kW - 400 kW | $50K-120K | Low-Med | ~25% | 6 | 8 | 80 | 80 | 70 | 80 | 59 | 50 | 70 | 60 | 60 | 70 | 60 | 50 | 50 | 50 | 50 | 67
Kempower | https://kempower.com | Finland | Lahti | Fast Growing | Limited | North Carolina | Durham NC (planned) | Movable Charger, S-Series | 50 kW - 400 kW | $35K-100K | Medium | ~25% | 7 | 7 | 90 | 80 | 80 | 80 | 62 | 50 | 50 | 60 | 60 | 70 | 30 | 50 | 50 | 50 | 50 | 64
Electrify America | https://www.electrifyamerica.com | US | Virginia | Major Network | Partnerships | Virginia | Reston VA HQ | 350 kW network stations | 150 kW - 350 kW | Network operator | Low | 0% | 8 | 8 | 80 | 80 | 80 | 80 | 62 | 50 | 50 | 60 | 60 | 70 | 30 | 50 | 50 | 50 | 50 | 64
Alpitronic | https://alpitronic.com | Italy | Bolzano | DCFC 150-400 kW | No | - | Hypercharger HYC 150/300/400; #1 EU DCFC by energy | 150-400 kW | $40-80K/unit | Low | #1 EU Energy | 8 | 8 | 8 | 90 | 80 | 80 | 60 |  | 50 | 50 | 60 | 60 | 70 | 30 | 50 | 50 | 50 | 50 | 62
EVgo | https://www.evgo.com | US | California | Public Network | Partnerships | California | Los Angeles CA HQ | Fast charging network | 100 kW - 350 kW | Network operator | Low | 0% | 7 | 6 | 80 | 70 | 80 | 80 | 57 | 50 | 50 | 60 | 60 | 70 | 30 | 50 | 50 | 50 | 50 | 62
i-charging | https://i-charging.com | Portugal | Maia | DCFC 150-1500 kW | No | - | blueberry; Megawatt Charging System (MCS) 1.5 MW | 150-1500 kW | $50-200K/unit | Low | ABI Leader | 7 | 7 | 7 | 80 | 80 | 80 | 60 |  | 50 | 50 | 60 | 60 | 70 | 30 | 50 | 50 | 50 | 50 | 61
Heliox | https://heliox-energy.com | Netherlands | Best | DCFC, Fleet, MCS | No | - | Rapid 150/180; Flex 180-360; bus/truck specialist | 50-350 kW | $40-90K/unit | Low | Fleet Leader | 7 | 7 | 8 | 80 | 80 | 80 | 60 |  | 50 | 50 | 60 | 60 | 70 | 30 | 50 | 50 | 50 | 50 | 61
Ekoenergetyka | https://ekoenergetyka.com | Poland | Krakow | DCFC 50-400 kW | No | - | Axon DCFC; IONITY supplier; bus/truck charging | 50-400 kW | $35-70K/unit | Low | EU Growing | 6 | 6 | 7 | 80 | 70 | 70 | 70 |  | 50 | 50 | 60 | 60 | 70 | 30 | 50 | 50 | 50 | 50 | 60
Efacec | https://www.efacec.com | Portugal | Porto | European | Limited | Georgia | Peachtree Corners GA (Americas) | QC series | 50 kW - 350 kW | $40K-100K | Medium | ~25% | 5 | 6 | 70 | 70 | 60 | 70 | 52 | 50 | 50 | 60 | 60 | 70 | 30 | 50 | 50 | 50 | 50 | 58

## GCC-MENA Suppliers
Company | Website | HQ Region | HQ Country/City | Market Position | MENA Presence | Key MENA Countries | Key Cities/Projects | Product Focus | Key Projects | Notes
ACWA Power | https://www.acwapower.com | Saudi Arabia | Riyadh | Regional Leader | Dominant | KSA, UAE, Oman, Egypt | Riyadh, NEOM, Red Sea | Solar, BESS, green H2, water | Red Sea 1,300 GWh, Sudair 1.5 GW | 44% PIF owned; 70+ projects
Alfanar | https://www.alfanar.com | Saudi Arabia | Riyadh | EPC/Developer | Strong | Saudi Arabia | Riyadh, Bisha | EPC services | Bisha BESS w/ State Grid | Major local EPC
AMEA Power | https://www.ameapower.com | UAE | Dubai | Developer | Growing | UAE, Egypt, Jordan, Morocco | Dubai, multi-country | Solar, wind | Multiple MENA projects | Active regional developer
BYD | https://www.byd.com/en/ess | China | Shenzhen | BESS Supplier | Strong | Saudi Arabia | Bisha, Al Jouf | BESS (Blade battery) | Bisha 2 GWh - largest in KSA | 122 prefab units; Alfanar
EDF Renewables | https://www.edf-re.com | France | Paris | Developer/EPC | Growing | KSA, UAE | Amaala, NEOM area | Solar, wind, BESS | Amaala 160 MW/760 MWh | Qualified Saudi tender
EWEC | https://www.ewec.ae | UAE | Abu Dhabi | Utility/Offtaker | Strong | UAE | Abu Dhabi | Power/water procurement | 400 MW/400 MWh BESS RFP | Emirates Water & Elec
Huawei FusionSolar | https://solar.huawei.com | China | Shenzhen | Inverter Leader | Very Strong | All MENA | Widely deployed | String inverters, smart PV | Multiple utility projects | No US restrictions in MENA
JA Solar | https://www.jasolar.com | China | Beijing | Major Supplier | Strong | KSA, UAE | Various project sites | Solar modules | Al Azeezah (2.6 GW) | Joint supplier with Jinko
Jinko Solar | https://www.jinkosolar.com | China | Shanghai | Major Supplier | Strong | KSA, UAE | Various project sites | TOPCon solar modules | Al Azeezah (2.6 GW), Tabarjal | Leading module supplier
Masdar | https://masdar.ae | UAE | Abu Dhabi | Regional Leader | Dominant | UAE, KSA, Oman, Jordan | Abu Dhabi, Al Azeezah | Solar+storage, wind, green H2 | Al Azeezah 5.2 GW + 19 GWh ($6B) | ADNOC/TAQA/Mubadala
Samsung SDI | https://www.samsungsdi.com | South Korea | Yongin | BESS Alternative | Growing | Exploring | TBD | ESS batteries | Potential China alternative | Korean diversification
SEC | https://www.se.com.sa | Saudi Arabia | Riyadh | Utility/Offtaker | Dominant | Saudi Arabia | Nationwide | Grid operator, BESS | 7.8 + 12.5 GWh tenders | Primary KSA offtaker
SirajPower | https://sifraipower.com | UAE | Dubai | Distributed Solar | UAE focus | UAE | Dubai | Turnkey C&I solar | UAE commercial | Design to maintenance
Sungrow | https://en.sungrowpower.com | China | Hefei | BESS/Inverter | Strong | KSA, UAE | Al Gihaz, various | BESS, string inverters | Al Gihaz 7.8 GWh | Strong local EPC ties
TotalEnergies | https://www.totalenergies.com | France | Paris | Developer | Growing | KSA, Qatar | Various | Solar, storage | Saudi 8 GWh tender qualified | Acquired Kyon Energy
Yellow Door Energy | https://www.yellowdoorenergy.com | UAE | Dubai | Distributed Solar | Strong | UAE, KSA, Jordan, Bahrain | Dubai, multi-country | C&I distributed solar | Multiple commercial | Leading regional C&I
Desert Technologies | https://desert-technologies.com | Saudi Arabia | Jeddah | Solar Modules | 5 GW | Saudi Industrial City Jeddah - $199M investment; local manufacturing hub | - | - | - | 7
DuSol Industries | https://dusol.ae | UAE | Dubai | Solar Modules | 500 MW | Dubai-based N-type cell manufacturer; MENA local production | - | - | - | 6
Almaden Solar | https://almadensolar.ae | UAE | Dubai | Solar Modules | 300 MW | Dubai manufacturer expanding to N-type technology | - | - | - | 5
Abundance Solar | https://abundance-solar.com | UAE | Abu Dhabi | Solar Modules | 1 GW | KEZAD 50-yr lease; high-efficiency PV modules; regional hub | - | - | - | 6
Sheida Industries | https://sheidaindustries.om | Oman | Sohar | Solar Modules | 500 MW | Oman first solar panel factory; Sohar Industrial Area; Vision 2040 | - | - | - | 5
Gstar Solar | https://gstarsolar.com | UAE | Dubai | Solar Modules | 2 GW | Singapore-based entering MENA; regional manufacturing plans | - | - | - | 6
Power Solution Industries | https://psi.ae | UAE/Saudi | Dubai/Riyadh | Solar Mounting + Modules | 500 MW | Cable management, mounting structures, steel; MENA regional | - | - | - | 5

## Tariff Summary
Product Category | Origin | Risk Level | Tariff Rate | Effective Date | Notes
EV Batteries | China | CRITICAL | 100%+ | 2024 | Highest tariff category
General China Goods | China | HIGH | 34%+ | 2025 | Reciprocal tariff
Graphite (AAM) | China | HIGH | 93.5% AD | July 2025 | Impacts all Li-ion
Li-ion BESS Cells | China | HIGH | 64.9% | Early 2025 | 34% recip + 20% Feb + 7.5% 301 + 3.4%
Li-ion BESS Cells | China | HIGH | ~82% | Jan 2026 | Section 301 to 25% non-EV
Li-ion BESS Cells | China | HIGH | Up to 150% | Potential | If all measures pass
Li-ion Batteries | Japan | Medium | 25% | 2025 | Lower than China
Li-ion Batteries | South Korea | Medium | 25% | 2025 | Lower than China
Sodium-ion Batteries | China | Medium | 38.4% | 2025 | NOT subject to 301 - advantage
Solar Inverters | China | HIGH | 25-78% | 2025 | Varies by product
Solar Modules | Cambodia | HIGH | 49% | 2025 | Reciprocal
Solar Modules | China | HIGH | 54%+ | 2025 | AD/CVD + 201 + reciprocal
Solar Modules | Malaysia | Medium | 24% | 2025 | Lowest SE Asia
Solar Modules | South Korea | Medium | 25% | 2025 | Elevated from baseline
Solar Modules | Thailand | Medium | 36% | 2025 | Reciprocal
Solar Modules | US Domestic | NONE | 0% | N/A | First Solar, Qcells, etc.
Solar Modules | Vietnam | HIGH | 46% | 2025 | SE Asia workaround closed
Steel/Aluminum | All imports | HIGH | 25% | 2018/2025 | Section 232 expanded

## Market Pricing 2025
Category | Product Type | Price Range | Unit | Notes
BESS - Cells | LFP cells (China) | $38-50 | /kWh | CATL, BYD, EVE, Hithium
BESS - Cells | LFP cells (US/Korea) | $70-100 | /kWh | LG, Samsung SDI domestic
BESS - Systems | Utility-scale turnkey (global) | $110-125 | /kWh | BNEF/Ember 4-hour average
BESS - Systems | Utility-scale turnkey (US) | $150-250 | /kWh | Higher due to tariffs/labor
BESS - Systems | Commercial (100+ kWh) | $180-300 | /kWh | Installed with BMS/PCS
BESS - Systems | Residential | $800-1,300 | /kWh | Fully installed
Solar - Modules | Global average (China) | $0.09-0.14 | /W | FOB China port
Solar - Modules | US manufactured | $0.25-0.40 | /W | First Solar, Qcells, Silfab
Solar - Systems | Residential installed (US) | $2.50-3.50 | /W | Before incentives
Solar - Systems | Commercial installed (US) | $1.80-2.60 | /W | Before incentives
Solar - Systems | Utility-scale installed | $0.80-1.20 | /W | Before incentives
Solar - Inverters | String inverters (China) | $0.08-0.15 | /W | Huawei, Sungrow, GoodWe
Solar - Inverters | String inverters (US/IRA) | $0.20-0.40 | /W | Enphase, SolarEdge
Solar - Carports | Installed complete | $3.00-5.50 | /W | Structure + panels + electrical
Solar - Racking | Fixed mount | $0.05-0.15 | /W | Unirac, IronRidge
Solar - Trackers | Single-axis utility | $0.06-0.12 | /W | Nextracker, Array
Generators - Gas | Residential standby | $300-600 | /kW | 10-48 kW range
Generators - Gas | Commercial/Industrial | $400-900 | /kW | 100 kW - 3 MW range
Generators - Diesel | Commercial standby | $200-500 | /kW | 50-500 kW range
Generators - Diesel | Industrial prime | $250-600 | /kW | 500 kW - 3 MW range
EV Chargers - L2 | Residential hardware | $400-1,500 | /unit | ChargePoint, Tesla
EV Chargers - L2 | Commercial installed | $6,000-20,000 | /port | Including installation
EV Chargers - DCFC | 50-100 kW | $28,000-60,000 | /unit | Installed
EV Chargers - DCFC | 150-350 kW | $50,000-150,000 | /unit | Installed; varies by site

## Sourcing Strategy
Category | Recommended Primary | Recommended Secondary | Avoid/High Risk | Key Considerations
BESS Cells | LG Energy (MI), Samsung SDI (IN), SK On (GA), Panasonic | Ford BlueOval, AESC, Gotion (MI planned) | CATL, EVE, Hithium, REPT direct | Only LG makes LFP ESS cells in US; Korean 25% vs China 64.9%+
BESS Systems | Tesla, Fluence, FlexGen, GE Vernova, Enphase, Generac | Ford BlueOval, Canadian Solar, Sonnen, Form Energy | Sungrow, BYD, CRRC, Hyperstrong direct | US integrators sourcing Korean/domestic cells preferred
Diesel Generators | Caterpillar, Cummins, Generac, Kohler, Deere | HIMOINSA, Detroit Diesel, Atlas Copco | None significant | Strong domestic supply
EV DCFC | Tesla, ChargePoint, ABB, Tritium TN, BTC Power | Delta, SK Signet, Kempower | Chinese DCFC hardware | Buy America/NEVI driving domestic
EV L2 Chargers | ChargePoint, ClipperCreek, Tesla, Siemens | Blink, Leviton, Eaton, ABB | Chinese-only imports | NEVI compliance required
GCC/MENA | ACWA Power, Masdar + Jinko, BYD, Sungrow | EDF, TotalEnergies, Samsung SDI | N/A - no tariff barriers | Partner with ACWA/Masdar for project access
Gas Generators | Caterpillar, Cummins, Generac, Kohler | Siemens Energy, GE Vernova, Waukesha | None significant | US dominates
Solar Carports | Parasol, M Bar C, Solar Mounts LLC, Baja, Quest | Brooklyn Solar, Polar Racking, Orion, RBI Solar | Chinese steel imports | All major US qualify for IRA; Solar Mounts in MI
Solar Inverters | Enphase, SolarEdge, GE Vernova, Siemens | EPC Power, Power Electronics TX | Huawei (banned), Sungrow, Growatt | Enphase/SolarEdge best for IRA
Solar Panels | First Solar, Qcells, Silfab, Canadian Solar TX | T1 Energy, Illuminate USA, Suniva, Heliene | Longi, Trina, JA direct imports | First Solar zero China; Qcells #1 residential
Solar Racking | Nextracker, Array Tech, Unirac, IronRidge | GameChange, SnapNrack, Quick Mount | PVH/Arctech, Grace Solar | Tracker leaders domestic

## Executive Summary
Topic | Key Finding | Recommendation
Database Overview | 150+ suppliers across 15 categories with comprehensive scorecards, pricing, and tariff analysis | Use filters on each tab to narrow supplier selection by US Mfg, Tariff Risk, or Score
BESS Market 2025 | Tesla #1 global (15%), Sungrow #2 (14%) per WoodMac; Chinese 7 of top 10 integrators; LFP dominant | Prioritize Tesla, Fluence, LG/Samsung for US projects; track Sigenergy for emerging C&I segment
Solar Panels 2025 | JA Solar & Trina tied #1 per WoodMac H1 2025; 30 Grade A manufacturers; 75% top 10 concentration | First Solar (zero China), Qcells (8.4 GW US) for tariff-safe; Canadian Solar TX for value
Solar Inverters 2025 | Huawei #1 (93.9), Sungrow #2 (93.7) per WoodMac; 71% top 10 market share; ESG now critical criteria | Enphase/SolarEdge for residential; GE Vernova for utility; avoid Huawei in US
Solar Carports | M Bar C #1 commercial (2025), Solar Mounts LLC in MI with 800+ MW shipped; all US-made qualify IRA | Solar Mounts LLC for Michigan/Midwest; Parasol/M Bar C for national coverage
Tariff Environment | China BESS: 64.9-150%; Solar: 54%+; Korea: 25%; US/USMCA: 0%; significant cost delta | Korean cells (LG/Samsung) best value; US assembly critical for IRA eligibility
Scorecard System | 8 criteria x 10 points each = 80 max; Top scores: Cummins (77), CAT (76), Tesla (74) | Use scores to shortlist; verify current financials before final selection
Saudi Arabia Focus | ACWA/Masdar dominate; BYD Bisha 2 GWh largest KSA BESS; Sungrow 7.8 GWh at Al Gihaz | Partner with ACWA Power or Masdar for market entry; Chinese suppliers acceptable